## 41-2024
مناقصة رقم 41/2024 شراء وتوريد مواد مخبرية لصالح وزارة الصحة
No | Name | Description | Unit | الكمية المطلوبة | سعر الوحدة بالشيكل شامل ض.ق.م | السعر الإجمالي | الشركة المصنعة | بلد المنشأ | ملاحظات
Serology
1 | MEASELES IgG elisa | ELISA KIT 96 test/control volume sufficient for 8 run/ Sensivity >95% - Specifity> 95% -IVD,CE/ expire date more 12 month of recieving | kit/ 96test | 4
2 | BRUCELLA IgM ELISA | ELISA KIT 96 test/control volume sufficient for 8 run/ Sensivity >95% - Specifity> 95% -IVD,CE/ expire date more 12 month of recieving | kit/ 96test | 3
3 | BRUCELLA IgG ELISA | ELISA KIT 96 test/control volumoe sufficient for 8 run/ Sensivity >95% - Specifity> 95% -IVD,CE/ expire date more 12 month of recieving | kit/ 96test | 3
4 | Anti Dengue IgM ELISA | ELISA KIT 48 test If not avalable 96 test/control volume sufficient for 8 run/ Sensivity >95% - Specifity> 95% -IVD,CE/ expire date more 12 month of recieving | kit/ 96test | 1
5 | Vibrio cholerae anti serum Ogawa | confirmation for vibrio cholerae. | vial/3ml | 1
6 | Vibrio cholerae anti serum Inaba | confirmation for vibrio cholerae. | vial/3ml | 1
7 | Shigella dysenteriae |  | single vial | 1
8 | Shigella sonnei |  | single vial | 1
9 | Shigella flexneri |  | single vial | 1
10 | Shigella boydii |  | single vial | 1
11 | Vibrio cholerae anti serum O139 | confirmation for vibrio cholerae. | vial/ 3ml | 1
Chemicals
12 | Hydroquinone certified reference standard | REFERENCE STANDARD | vial/ 5g | 1
13 | Auro flow AQAfla-Strip Test WITH READER | cat #F00D-1413-01 Perkin Elmer for AFLATOXIN OR EQUIVALENT / the kits must included the Reader for result reporting ) | Kit | 11
14 | Tetrahydrofuran HPLC | HPLC GRADE -original glass bottle | Bottle/ 1 liter | 6
15 | Extran MA 02 OR EQUIVALENT Detergent | for detergent wash | 2.5 Liter | 2
16 | Neodisher N | a neutralizing agent | Liter | 20
17 | Anti freeze agent 1.5 L , TN | 10012627 OR EQUIVALENT | Pack / 1.5 L | 5
18 | Anti freeze coolant for electric generator |  | liter | 50
Small Instruments
19 | Volumetric pipettes 15 ml | class A/ CLEAR | single | 15
20 | WTW combind ISE Flouride electrode F-800 | (range 0.02-sat mg/L ) | Single | 2
21 | WTW combind ISE Chloride electrode, CI-800, | (range 2-35000 mg/L) | Single | 1
22 | WTW combind ISE Nitrate electrode,No-800, | (range 0.4-62000 mg/L) | Single | 1
23 | WTW Half Ammonia electrode,NH500/2, | (range 0.02-900 mg/L) | Single | 1
24 | WTW pH electrode Sen Tix HW | Sen Tix HW AB/BNC OR EQUIVALENT | Single | 1
25 | WTW pH electrode Sen Tix 82 | Sen Tix 82 BNC OR EQUIVALENT | Single | 1
26 | SenTix 22 PHElectrode,With BNC Cable plug | WTW 103633 ,WTW Inolab PH7110 OR EQUIVALENT | single | 2
27 | Waters BATTERY 3.0V ZEROPOWER SNAPHAT - | 700001834 for HPLC WATERS 2695 OR EQUIVALENT | single | 2
28 | HPLC column C18 ultra pure poros silica C18 5um 4.6*150mm | Xbride waters part no 186003116 OR EQUIVALENT | singe | 8
29 | HPLC columns C18 ULTRA PURE SILICA : (5)um*4.6*250mm | column high pure silica like Xbridge watets 186003117 OR EQUIVALENT | single | 6
30 | AGCL 62 ELECTRODE WITH CABLE 2114 | A1 filling solution L2114 / AGCL 62 | single | 1
31 | Oil Free Vacuum Pump for Water Filtration System , Rocker (Rocker 801: 220V/50Hz) | Rocker 801: 220V/50Hz OR EQUIVALENT | single | 2
32 | Waste Container 15-20L with all tubing and fittings. For Water Filtration System, Rocker. |  | single | 1
33 | Temperature sensor for D-Line autoclave for: Autoclave, Tuttnauer | ELC411-0101 OR EQUIVALENT | single | 2
34 | Gasket, Silicone For Grooved Door 3870-D for: Autoclave, Tuttnauer | GAS080-0317 OR EQUIVALENT | single | 1
35 | Valve, Solenoid,Brass, 2/2 way,1/4"BSPx4.0, NC,GEM-A- 22017,Baccara for: Autoclave, Tuttnauer | SOL026-0032 OR EQUIVALENT | single | 2
36 | Coil, Solenoid, 24VAC, 8W, 50Hz, Bac. for: Autoclave, Tuttnauer | SOL026-0018 OR EQUIVALENT | single | 1
37 | Teflon gasket 4 mm for: Autoclave, Tuttnauer | GAS082-0008 OR EQUIVALENT | single | 1
38 | Strainer element for: Autoclave, Tuttnauer | FIL175-0046 OR EQUIVALENT | single | 1
39 | Thermostat, Cut-Off, TY95-H, 155C, Campin for: Autoclave, Tuttnauer | THE005-0016 OR EQUIVALENT | single | 1
40 | CHECKTEMP DIGITAL THERMOMETER WITH STAINLESS STEEL PENETRATION PROBE | HI-98501 HANNA OR EQUIVALENT RANGE -50-150 | PCS | 3
41 | TP-02 series probe head plug connection thermocouple temperature sensor | * TP-02 temp probe K(CA)NiCr/Ni Ai head plug connection thermocouple * Measuring range -50-700 C * Model number TP-02-D3S150 * Mounting form Probe * Accuracy ±0.75%t * JIS C1602 classification 0.75 * Max allowable heat 150 ℃ *Probe diameter Φ3mm * Probe length 150mm * Cable material Plastic * Cable length 1m * Matched instrument TM-5005 thermometer | SINGLE | 1
42 | Temperature Test Probe | Temperature Test Probe T-01 Sensor Type K Type Range: ℃ -40℃~260℃ Length: 100 CM | SINGE | 1
43 | Nalgene™ LDPE OR EQUIVALENT, Round Carboy with Spigot | Thermo Scientific™ Nalgene™ LDPE OR EQUIVALENT, Round Carboy with Spigot Catalog number: 2318-0010PK | SINGE | 4
PCR
44 | Real time Amplification HBV kit | Any FDA/IVD kit with good quality: Applicable on GenXpert or abbott m2000rt Machines Viral Load Units in IU/ml and C/mL Able to detect and quantify HBV Genotypes A-H and Pre-core mutant Price should include reagents and disposals of sample preparation, amplifications, consumables, calibrators and controls | test | 2200
45 | C. difficile Positive Control | noninfectious Organisms used for verification of real time PCR assays | VIAL/ 0.5 ML | 1
46 | Multiplex Real-time PCR Kit | Real time PCR IVD Applicable on ABI system Able to differentiate Measles wild type and vaccinated form | TEST | 600
47 | Bacillus cereus Real-time PCR Kit | Real time PCR Applicable on ABI system Reagents and materials are I separated tubes (not Lyophilized Matrix), AOAC Approved | TEST | 600
48 | Listeria monocytogenes Real-time PCR Kit | Real time PCR Applicable on ABI system Reagents and materials are I separated tubes (not Lyophilized Matrix), AOAC Approved | TEST | 600
49 | Bacillus cereus toxin Real-time PCR Kit | Real time PCR Applicable on ABI system Reagents and materials are I separated tubes (not Lyophilized Matrix) | TEST | 400
50 | Rubella Real time PCR Kit | Real time PCR Applicable on ABI system Reagents and materials are I separated tubes (not Lyophilized Matrix) | TEST | 200
51 | C. jejuni Positive control | noninfectious Organisms used for verification of real time PCR assays | VIAL/0.5 ML | 1
52 | Norovirus GI/GII Positive Control | noninfectious Organisms used for verification of real time PCR assays | VIAL/0.5 ML | 1
53 | Entamoeba histolytica Positive control | noninfectious Organisms used for verification of real time PCR assays | VIAL/0.5 ML | 1
54 | Echovirus Positive control | noninfectious Organisms used for verification of real time PCR assays | VIAL/0.5 ML | 1
55 | T.vaginalis Positive Control | noninfectious Organisms used for verification of real time PCR assays | VIAL/0.5 ML | 1
56 | Chikungunya Positive control | noninfectious Organisms used for verification of real time PCR assays | VIAL/0.5 ML | 1
57 | Marburg virus and Ebola Real Time PCR | Real time PCR IVD Applicable on ABI system Reagents and materials are I separated tubes (not Lyophilized Matrix) | TEST | 100
58 | Mycobacterium Tuberculosis Complex with rifampin resistance detection PCR | IVD Applicable on GeneXpert machine (Recommended by WHO) Real time PCR | TEST | 700
59 | Leptospira 16s PCR | Real Time PCR / IVD qual detection Applicable on Q-5 or ABI7500 /Reagents and materials are I separated tubes (not Lyophilized Matrix) | TEST | 200
60 | Para influenza Real time PCR Kit | Real time PCR IVD Applicable on ABI system | TEST | 500
61 | Mumps Real time PCR Kit | Real time PCR IVD Applicable on ABI system Reagents and materials are I separated tubes (not Lyophilized Matrix) | TEST | 500
62 | PCP IVD Real-time PCR Kit | Real time PCR IVD For Pneumocystis pneumonia diagnosis Applicable on ABI system | TEST | 200
63 | Polypropylene 8mL Sterile Transport Tube | with Screw-Cap and Standing Base 8 ml graduated Sterile, and autoclavable | TUBE/ 8ML | 7000
64 | ZIKV, DENV, CHIKV Multiplex Real-time | Real time PCR IVD Applicable on ABI system Reagents and materials are I separated tubes (not Lyophilized Matrix) | TEST | 100