## Sheet1
تسعيير اعادة طرح عطاء 92
| Cataloge no | Item | Description | MOH Unit | الكمية المطلوبة
Chemicals and Stains
1 | L-102-0110 | GLACIAL ACETIC ACID | 99%,CONCENTRATED | LT | 30
Disposables And Glass Ware
2 | L-209-0315 | Thermometer 0-110 C | 0-110C .GRADUATED FOR LABORATORIES.alcoholic. | SINGLE | 150
3 | L-207-0215 | COUNTING CHAMPER | COUNTING BLOOD , CSF , SEMINAL FLUID | SINGLE | 20
4 | L-209-0255 | Sterile Cotton Swabs | COTTON SWAB,10-15 CM LONG, sterile. | TH | 100
5 | L-209-0340 | PETRI DISHES 9CM | 9 cm one room | TH | 200
6 | L-206-0160 | ESR system | Sedimentation - Rate system allows a rapid execution of the test, with a fibre Cap,with agradual reader,reading after one hour with rack 100 Free | Th | 100
7 | L-207-0115 | Tubes Vacutainer (EDTA K3 ) | Vacutainer with anticoagulant EDTA K3 2- 3 ml (12/75) | Th | 500
8 | L-207-0120 | Tubes Vacutainer (with out addetive ) 5 ml | Vacutainer plain 5 ml (13/75)mm | Th | 500
9 | L-104-0313 | CONTROL CBC SYSMEX | 3level N,H,L for different systems include sysmex | KIT/100-150ML | 60
10 | L-207-0140 | Tubes Vacutainer (Citrate 2ml) | Vacutainer with anticoagulant Na Citrate 3.8%,( 0.2 ml,total sample volume 2 ml) .for coagg.tests with blue cap. | Th | 200
11 | L-209-0605 | SPRAY FOR CYTOLOGY | Fixation of slides for cytology | Bott/ 100-150 Ml | 30
Chemistry Autoanalyzer - Chem well
12 | L-108 -1360 | CLEANER CHEMWELL | CHEM WELL CLEANER | BOTT /100ML | 5
Biosystem Chemistry Analyser BA-200
13 | L-207-1471 | Reaction Rotor Box | Applicable on Biosystem Chemistry Analyser BA-200 | Box/10 pcs | 10
14 | L-108-0825 | A15/A25 Concentrated solution | Applicable on Biosystem Chemistry Analyser BA-200 | Bottle/0.5 L | 3
Microbiology
15 | L-105-0652 | streptococal grouping ( lansefiled group | streptococcal grouping for detection | kit | 5
16 | L-105-1555 | Biological indicators | Each box contains a certificate including, culture collection number, lot number,expiry date, spore population, resistance date, exposure in biological indicator evaluation resistometer (BIER) Refi 2232 | Box/100 vial | 30
Serology
17 | L-106-0140 | Anti Streptolycine O Titer (A.S.O.T) | latex agglutination test qualitative and semi quantitative. The ASOT latex test is based upon immunological reaction between the anti streptolysin (O) and the corresponding Ab coated onto latex particles. Negative control ,Positive control, slide | Kit /150 Test | 100
18 | L-106-1002 | Helicobacter -Pylori (H.Pylori ) Stool Antigen | A rapid one step test for the detection of H.Pylori antigen in stool samples.and control & all accessories needed. | KIT / 50 test | 450
|  | HBA1c For Tosooh (G8) |  | نظام مغلق
19 | L-108-1700 | CALIBRATOR | FOR HbA1C-G8 | Kit/2x4x1 ml | 9
20 | L-108-1710 | CONTROL SET NORMAL | FOR HbA1C-G8 | KIT/ 2X0.5ML | 9
21 | L-108-1715 | CONTROL SET HIGH | FOR HbA1C-G8 | KIT/ 2X0.5ML | 9
22 | L-108-1582 | TSK GEL HIS G8-COLUM HbA1C | G8 - COLUMN FOR HBA1C | SINGLE | 3
|  |  | Gel System /Biorad | نظام مغلق
23 | L-106-0203 | Dia cell I,II,III | A blend of human group ( O ) RBCs from multi-selected donors, carrying known variety of human erythrocytes antigens to be used at gel system cards. | Box /3 Vials x 10 ml each. | 30
24 | L-106-0665 | Liss/coombs (Anti Human globulin) Poly specific gel | Micro-tubes cards with a pourus matrix gel containing low Ionic Strenght saline , or anti-Human globulin to be used in Compatibility testing to roll out the presence of undesired antibodies in transfused blood , or D & Indirect AHG tests to detect and Compatibility testing. | Box / 4 x 12 cards of 6 tubes | 100
25 | L-106-0201 | Resolve panel (Dia panel) (Gell system) | Human group ( O ) RBC prepared from selected single donors cells, each donors cells carries different groups of known antigens, to detect and identify unknown corresponding antibodies, using gel system technique. | KIT / 11vial * 3ml | 5
26 | L-106-0211 | DIACELL A1 ,B CLOSE GEL SYSTEM | SUITABLE FOR DIAMED SYSTEM. | kit/2x10ml | 12
27 | L-106-0219 | DIACLON ABO/D+REVERSE GROUP CLOSE GEL SYS | SUITABLE FOR DIAMED SYSTEM. | kit/4x12 card | 100
28 | L-106-0675 | Red cell diluent 2 | Buffer liquid chemical solution, used for washing and suspending of human RBCs used in compatibility and direct agglutination testing,with dispensers. | Bottle / 500 ml | 50
|  |  | Pathology Lab Instrument | نظام مغلق
29 | L-109-0370 | BOND EPITOPE RETRIEVAL SOL(CITRATE Buffer) | Aplicable on Lecia Instrument For Pathology/ Bond System | bottle/ liter | 25
30 | L-109-0375 | BOND EPITOPE RETRIEVAL( SOL.EDTA Buffer) | Aplicable on Lecia Instrument For Pathology/ Bond System | bottle/ liter | 25
31 | L-109-0385 | PEROXIDASE DETECTION SYSTEM | Aplicable on Lecia Instrument For Pathology/ Bond System | kit | 30
32 | L-109-0390 | PHOSPHATE BUFFERED SALINE | Aplicable on Lecia Instrument For Pathology/ Bond System | bottle/ liter | 10
33 | L-109-1489 | DE -WAX SOLUTION | Aplicable on Lecia Instrument For Pathology/ Bond System | bottle/ liter | 20
34 | L-109-1353 | Xylene | Aplicable on Lecia Instrument For Pathology/ Bond System | bottle/liter | 300
35 | L-109-1351 | Slide (Super Frosted) | Green X-TRA Slide NON-CLIPPED CASE For Bond System/Aplicable on Lecia Instrument For Pathology | Box/1440 | 30
|  |  | شيكل | 1487025 | المجموع

## الجدول المعتمد
مناقصة رقم (MOH-GSD/MOF/2024/54) شراء وتوريد مواد مخبرية لصالح مختبرات وزارة الصحة |  |  |  |  | المطلوب تحديده
الرقم | اسم الصنف | وصف الصنف | الوحدة | الكمية |  | السعر المقدم للوحدة بالشيقل شامل (ض.ق.م) | السعرالإجمالي بالشيقل شامل (ض.ق.م) | ORIGIN | Manufacture | ملا حظات
Chemicals and Stains
1 | GLACIAL ACETIC ACID | 99%, CONCENTRATED | LT | 30
Disposables and Glass Ware
2 | Thermometer 0-110 C | 0-110C .GRADUATED FOR LABORATORIES, alcoholic. | SINGLE | 150
3 | COUNTING CHAMPER | COUNTING BLOOD , CSF , SEMINAL FLUID | SINGLE | 20
4 | Sterile Cotton Swabs | COTTON SWAB,10-15 CM LONG, sterile. | TH | 100
5 | PETRI DISHES 9CM | Plastic, 9 cm one room | TH | 200 | PLASTIC one room
6 | ESR system | Sedimentation - Rate system allows a rapid execution of the test, with a fibre Cap,with agradual reader,reading after one hour with rack 100 Free | TH | 100
7 | Tubes Vacutainer (EDTA K3) | Vacutainer with anticoagulant EDTA K3 2- 3 ml (12/75) | TH | 500
8 | Tubes Vacutainer (with out additive) 5 Ml | Vacutainer plain 5 ml (13/75)mm | TH | 500
9 | CONTROL CBC SYSMEX | 3 level N,H,L for different systems include sysmex | KIT/12*2 ml | 60 | التأكد من الحجم
10 | Tubes Vacutainer (Citrate 2mL) | Vacutainer with anticoagulant Na Citrate 3.8%, ( 0.2 ml, total sample volume 2 ml) for coagg. tests with blue cap. | TH | 200
11 | SPRAY FOR CYTOLOGY | Fixation of slides for cytology | Bott/ 100-150 ML | 30
| Chemistry Autoanalyzer - Chem well (12) |  | نظام مغلق
12 | CLEANER CHEMWELL | CHEM WELL CLEANER | BOTT /100ML | 5
| Biosystem Chemistry Analyser BA-200 (13-14) |  | نظام مغلق
13 | Reaction Rotor Box | Applicable on Biosystem Chemistry Analyser BA-200 | Box/10 pcs | 10
14 | A15/A25 Concentrated solution | Applicable on Biosystem Chemistry Analyser BA-200 | Bottle/0.5 L | 3
Microbiology
15 | Streptococcal grouping (lancefield group) | streptococcal grouping for detection | kit/ 50 test | 5 | تحديد حجم الكت
16 | Biological indicators | Each box contains a certificate including culture collection number, lot number, expiry date, spore population, resistance date, exposure in biological indicator evaluation resistometer (BIER) Refi 2232 | Box/100 vial | 30
Serology
17 | Anti Streptolycine O Titer (A.S.O.T) | latex agglutination test qualitative and semi quantitative. The ASOT latex test is based upon immunological reaction between the anti streptolysin (O) and the corresponding Ab coated onto latex particles. Negative control ,Positive control, slide | Kit /150 Test | 100
18 | Helicobacter -Pylori (H.Pylori ) Stool Antigen | A rapid one step test for the detection of H.Pylori antigen in stool samples.and control & all accessories needed. | KIT / 50 test | 450
| HBA1c For Tosoh (G8) (19-22) |  | نظام مغلق
19 | CALIBRATOR | FOR HbA1C-G8 | Kit/2x4x1 ml | 9
20 | CONTROL SET NORMAL | FOR HbA1C-G8 | KIT/ 2X0.5ML | 9
21 | CONTROL SET HIGH | FOR HbA1C-G8 | KIT/ 2X0.5ML | 9
22 | TSK GEL HIS G8-COLUM HbA1C | G8 - COLUMN FOR HBA1C | SINGLE | 3
|  | Gel System /Bio Rad (23-28) | نظام مغلق
23 | Dia cell I,II,III | A blend of human group ( O ) RBCs from multi-selected donors, carrying known variety of human erythrocytes antigens to be used at gel system cards. | Box /3 Vials x 10 ml each. | 30
24 | Liss/coombs (Anti Human globulin) Poly specific gel | Micro-tubes cards with a pourus matrix gel containing low Ionic Strenght saline , or anti-Human globulin to be used in Compatibility testing to roll out the presence of undesired antibodies in transfused blood , or D & Indirect AHG tests to detect and Compatibility testing. | Box / 4 x 12 cards of 6 tubes | 100
25 | Resolve panel (Dia panel) (Gell system) | Human group ( O ) RBC prepared from selected single donors cells, each donors cells carries different groups of known antigens, to detect and identify unknown corresponding antibodies, using gel system technique. | KIT / 11vial * 3ml | 5
26 | DIACELL A1 ,B CLOSE GEL SYSTEM | SUITABLE FOR DIAMED SYSTEM. | kit/2x10ml | 12
27 | DIACLON ABO/D+REVERSE GROUP CLOSE GEL SYS | SUITABLE FOR DIAMED SYSTEM. | kit/4x12 card | 100
28 | Red cell diluent 2 | Buffer liquid chemical solution, used for washing and suspending of human RBCs used in compatibility and direct agglutination testing,with dispensers. | Bottle / 500 ml | 50
|  | Pathology Lab Instrument (29-35) | نظام مغلق
29 | BOND EPITOPE RETRIEVAL SOL(CITRATE Buffer) | Applicable on Lecia Instrument For Pathology/ Bond System | bottle/ liter | 25
30 | BOND EPITOPE RETRIEVAL( SOL.EDTA Buffer) | Applicable on Lecia Instrument For Pathology/ Bond System | bottle/ liter | 25
31 | PEROXIDASE DETECTION SYSTEM | Applicable on Lecia Instrument For Pathology/ Bond System | kit/ 7 vial | 30 | تحديد حجم الكت
32 | PHOSPHATE BUFFERED SALINE | Applicable on Lecia Instrument For Pathology/ Bond System | bottle/ liter | 10
33 | DE -WAX SOLUTION | Applicable on Lecia Instrument For Pathology/ Bond System | bottle/ liter | 20
34 | Xylene | Applicable on Lecia Instrument For Pathology/ Bond System | bottle/ liter | 300
35 | Slide (Super Frosted) | Green X-TRA Slide NON-CLIPPED CASE For Bond System/Applicable on Lecia Instrument For Pathology | Box/ 1440 | 30