## 67-2024
مناقصة رقم 67/2024 شراء وتوريد مستهلكات طبية خاصة بالأسنان لصالح وزارة الصحة
No | Name | Unit | الكمية المطلوبة | سعر الوحدة بالشيكل شامل ض.ق.م | السعر الإجمالي | ORIGIN | Manufacture | Trade name | ملاحظات
1 | Zinc oxide powder 100 g/Jar | Box | 50
2 | Amalgam capsules (2 spill) 50caps/Box | Box | 50
3 | Composite finishing discs + mandrel (40-100)pcs/Kit | Kit | 50
4 | Gingival retraction cord (size 0) | Bottle | 25
5 | Disposable patient apron 200pcs/Box | Box | 100
6 | Articulating paper (80 µm) 12sheets/Book 12books/Box | Box | 50
7 | Cotton roll dispenser | Pcs | 22.5
8 | Light-cured composite (Shade A2) (4-5)g/Syringe | TUBE | 125
9 | Acid etching gel (37% phosphoric acid) 5ml/Syringe | TUBE | 225
10 | Temporary filling Material (30-40)g/Jar | Jar | 100
11 | Eugenol (30-50)ml/bottle | Bottle | 50
12 | Prophylaxis paste 100g/Jar | Jar | 50
13 | Dycal (Calcium hydroxide liner) (13g Base+11g Catalyst)/Kit | Kit | 75
14 | Celluloid Strip Roll Width: 10mm Length: (10-15)m | Roll | 25
15 | Cotton rolls box/600 | Box | 100
16 | Long dental needles 25Gauge/Length: 32mm 100pcs/Box | Box | 150
17 | Short dental needles 27Gauge/Length: 21mm 100pcs/Box | Box | 250
18 | Topical anaesthetic spray (10% Lidocaine) 50ml/Bottle | Bottle | 60
19 | Handpiece lubricant oil spray 500ml/Bottle | Bottle | 50
20 | Fluoride gel (1.23% APF) 200ml/Bottle | Bottle | 125
21 | Zekreya bur (Surgical bur) Length: 28mm | Pcs | 150
22 | Disposable dental bibs 500pcs/Box | Box | 50
23 | Disposable plastic cups | Pcs | 25000
24 | Stainless steel mirror | Pcs | 250
25 | Ultrasonic scaler tips (Woodpecker, DTE, NSK) | Pcs | 150
26 | Glass Ionomer Cement (Liner/Base) (15-30g Powder+15ml Liquid) | Kit | 50
27 | IRM (Intermediate restorative material) (38-40g Powder+ 15ml Liquid)/Kit | Kit | 75
28 | Dental polishing brushes | Pcs | 750
29 | Stainless steel matrix band Width: 6mm Length: 3m | Roll | 50
30 | Absorbable gelatin sponge (Size: 10mm×10mm×10mm) 50pcs/Box | Box | 75
31 | Low speed handpiece air motor (4-Holes) | Pcs | 25
32 | Straight handpiece | Pcs | 25
33 | Composite finishing (diamond) burs | Pcs | 500
34 | High speed handpiece (4-Holes) push button | Pcs | 50
35 | Topical anaesthetic gel (20% benzocaine) 30g/Jar | Jar | 50
36 | Pit & fissure sealant (2sealant syringes & 1etching syringe)/Kit | Kit | 50
37 | Formocresol (10-15)ml/Bottle | Bottle | 25
38 | High speed diamond round bur | Pcs | 1250
39 | High speed carbide bur (Pear shape) #330 & #245 | Pcs | 500
40 | Adhesive Bonding agent 5ml/Bottle | Bottle | 80
41 | Self-sealing sterilization pouches (Size: 90mm × 260mm) 200pcs/Box | Box | 300
42 | Disposable micro brush applicators Medium size (2mm) 100pcs/Box | Box | 75
43 | Flowable composite (Shade A2) (1-2)gm/Syringe | Syringe | 50
44 | Low speed carbide round burs | Pcs | 750
45 | Dental wooden wedges 200pcs/Box | Box | 50
46 | Composite finishing strips 100pcs/Box | Box | 25
47 | Steam chemical integrator 500pcs/PKG | PKG | 50
48 | Light-cured composite (Shade A3) (4-5)g/Syringe | Syringe | 75
49 | High speed diamond inverted bur | Pcs | 600
50 | High speed diamond fissure bur | Pcs | 500
51 | Light-cured composite (Shade A1) (4-5)g/Syringe | Syringe | 75
52 | Upper primary molar forcep | Pcs | 50
53 | Lower primary anterior forcep | Pcs | 50
54 | Upper primary anterior forcep | Pcs | 50
55 | Lower primary molar forcep | Pcs | 50
56 | Lower premolar forcep | Pcs | 50
57 | Lower permanent anterior forcep | Pcs | 50
58 | Upper permanent anterior forcep | Pcs | 50
59 | Upper premolar forcep | Pcs | 50
60 | Upper permanent left molar forcep | Pcs | 50
61 | Cryer left elevator | Pcs | 50
62 | Cryer right elevator | Pcs | 50
63 | Dental probe | Pcs | 100
64 | Dental tweezer | Pcs | 100
65 | Dental spoon excavator | Pcs | 50
66 | Amalgam carrie | Pcs | 60
67 | Amalgam condenser | Pcs | 60
68 | Amalgam carver | Pcs | 60
69 | Amalgam burnisher | Pcs | 60
70 | Manual scaler | Pcs | 50
71 | Matrix tofflemire retainer | Pcs | 60
72 | Cement mixing spatula | Pcs | 25
73 | Dycal applicator | Pcs | 50
74 | Upper permanent right molar forcep | Pcs | 50
75 | Plastic filling instrument | Pcs | 50
76 | Dental aspirating syringe | Pcs | 60
77 | Mirror handle | Pcs | 100
78 | Dental surgical curette | Pcs | 25
79 | Straight elevator serrated blade width: (2mm ,3mm & 4mm) | Pcs | 75
80 | Gracey Curette 7pcs/Set | Set | 20
81 | Lower permanent molar forcep | Pcs | 50
82 | Upper permanent root forcep | Pcs | 50
83 | Lower primary root forcep | Pcs | 50
84 | Lower permanent root forcep | Pcs | 50
85 | Upper primary root forcep | Pcs | 50
86 | Upper 3rd molar forcep (Bayonet) | Pcs | 50
87 | Lower 3rd molar forcep | Pcs | 50
88 | Apexo right elevator | Pcs | 50
89 | Apexo left elevator | Pcs | 50
90 | Contra-angle handpiece | Pcs | 50
91 | TheraCal LC (Resin-Modified Calcium Silicate Pulp Protectant/Liner) 1g/Syringe | Syringe | 50
92 | Mouthwash tablets 1000 tablets/Jar | Jar | 50
93 | Amalgam capsules (3 spill) 50pcs/Box | Box | 25
94 | Composite polishing kit (For Contra-angle low speed handpiece) (6-12)pcs/Kit | Kit | 50
اجمالي السعر المقدم بالشيكل شامل ضريبة القيمة المضافة