## 92-2024
مناقصة رقم (92/2024) شراء وتوريد مستهلكات طبية خاصة بجراحة العيون للعام 2024 لصالح وزارة الصحة
الرقم | الصنف | الوحدة | الكمية | سعر الوحدة بالشيكل شامل | السعر الإجمالي | ORIGIN | Manufacture | Trade name | ملاحظات
1 | POLYPROLENE 10-0 STRAIGHT DOUBLE ARM ,NEEDLE (0.2 ph.EUR) NEEDLE STC-6 ,16MM REVERSE CUTTING MICRO -POINT SUTURE LENGTH 23 CM | DZ | 9
2 | ragide lenses ANTERIOR CAMPER power#18 | SINGLE | 4
3 | Phaco casette for stell airs anterior VFM | SINGLE | 200
4 | CONTACT LENCES | SINGLE | 300
5 | capsuls tension ring | SINGLE | 60
6 | Opthalmic drape sterile disposable | SINGLE | 2500
7 | IRRIGATION AND ASPIRATION CANNULA (SIMCO)23G THIN WALLCANULA ID 1 MM TUBING 40MM ASSPIRATION PORT BOX/6 | BOX | 30
8 | MVR KNIFE ANGELD 20 G | SINGLE | 2500
9 | DISPOSABLE PNEUMATIC VITRECTOME BOX/6 STERILE | SINGLE | 50
10 | PHACO NEEDLE (FLARE TIP) STERILE | SINGLE | 40
11 | PHACO TEST CHAMBER BOX /1 | BOX | 1
12 | INTRAOCULAR RIGID LENSES POSTERIOR CHAMPER POWR 11 | SINGLE | 5
13 | INTRAOCULAR RIGID LENSES POSTERIOR CHAMPER POWR 12 | SINGLE | 5
14 | INFUSION PORT 23 G ANTERIOR CHAMBER INFUSION PORT M2658 | SINGLE | 10
15 | INTRAOCULAR RIGID LENSES POSTERIOR CHAMPER POWR 15 | SINGLE | 6
16 | INTRAOCULAR RIGID LENSES POSTERIOR CHAMPER POWR 16 | SINGLE | 6
17 | INTRAO0ULAR RIGID LENSES POSTERIOR CHAMPER POWR 17 | SINGLE | 6
18 | INTRAOCULAR RIGID LENSES POSTERIOR CHAMPER POWR 18 | SINGLE | 7
19 | INTRAOCULAR RIGID LENSES POSTERIOR CHAMPER POWR 20 | SINGLE | 8
20 | INTRAOCULAR RIGID LENSES POSTERIOR CHAMPER POWR 21 | SINGLE | 8
21 | INTRAOCULAR RIGID LENSES POSTERIOR CHAMPER POWR 22 | SINGLE | 8
22 | INTRAOCULAR RIGID LENSES POSTERIOR CHAMPER POWR 23 | SINGLE | 7
23 | INTRAOCULAR RIGID LENSES POSTERIOR CHAMPER POWR 24 | SINGLE | 7
24 | INTRAOCULAR RIGID LENSES POSTERIOR CHAMPER POWR 25 | SINGLE | 6
25 | INTRAOCULAR RIGID LENSES POSTERIOR CHAMPER POWR 26 | SINGLE | 4
26 | INTRAOCULAR RIGID LENSES POSTERIOR CHAMPER POWR 27 | SINGLE | 3
27 | INTRAOCULAR RIGID LENSES POSTERIOR CHAMPER POWR 28 | SINGLE | 3
28 | INTRAOCULAR RIGID LENSES POSTERIOR CHAMPER POWR 29 | SINGLE | 3
29 | INTRAOCULAR RIGID LENSES POSTERIOR CHAMPER POWR 30 | SINGLE | 3
30 | NEEDLE #30 | SINGLE | 2500
31 | DIATHERMY PEN 20 G PORT 02BI73 | SINGLE | 20
32 | INTRAOCULAR RIGID LENSES POSTERIOR CHAMPER POWR 13 | SINGLE | 5
33 | ragide lenses ANTERIOR CAMPER power#19 | SINGLE | 5
34 | ragide lenses ANTERIOR CAMPER power#20 | SINGLE | 5
35 | ragide lenses ANTERIOR CAMPER power#21 | SINGLE | 5
36 | ragide lenses ANTERIOR CAMPER power#22 | SINGLE | 5
37 | ragide lenses posterior CAMPER scleral fixtion power # 17 | SINGLE | 5
38 | ragide lenses posterior CAMPER scleral fixtion power # 18 | SINGLE | 4
39 | ragide lenses posterior CAMPER scleral fixtion power # 19 | SINGLE | 4
40 | ragide lenses posterior CAMPER scleral fixtion power # 20 | SINGLE | 4
41 | ragide lenses posterior CAMPER scleral fixtion power # 21 | SINGLE | 4
42 | ragide lenses posterior CAMPER scleral fixtion power # 22 | SINGLE | 4
43 | ragide lenses posterior CAMPER scleral fixtion power # 23 | SINGLE | 4
44 | ragide lenses posterior CAMPER scleral fixtion power # 24 | SINGLE | 4
45 | ( Irrigating Cystotome 27 Ga x 5/8 in (.40 x 16 mm | SINGLE | 1300
46 | INTRAOCULAR RIGID LENSES POSTERIOR CHAMPER POWR 14 | SINGLE | 5
47 | CRESCANT KNIFE 2.2 MM | SINGLE | 50
48 | BLUE INFUTION SLEEVE FOR 3006-PF NEEDLE BOX/12 | BOX | 25
49 | Iris hooks | SINGLE | 70
50 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 10.5 | SINGLE | 10
51 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 14.5 | SINGLE | 17
52 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 12.5 | SINGLE | 17
53 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 25.5 | SINGLE | 17
54 | ENDOLASER (DIRECTIONAL LASER + STRAIGHT LASER)PROBE 23G BOX OF 12 | BOX | 10
55 | SOFT TIP CANNULA 23 G BOX OF 6 | BOX | 40
56 | CHANDIELER TWINLIGHT 23G BOX OF 5 | BOX | 10
57 | CONTACT LENS FOR ILM PEELING BOX OF 3 | BOX | 5
58 | ENDO CAUTARY 23 G BOX OF 12 | BOX | 5
59 | DUAL BLUE VIALS FOR ILM PEELING BOX OF 6 | BOX | 10
60 | foldable posterior chamber (3- piece) intraocular lens power1 | SINGLE | 2
61 | foldable posterior chamber (3- piece) intraocular lens power2 | SINGLE | 2
62 | foldable posterior chamber (3- piece) intraocular lens power3 | SINGLE | 2
63 | foldable posterior chamber (3- piece) intraocular lens power4 | SINGLE | 2
64 | foldable posterior chamber (3- piece) intraocular lens powe 5 | SINGLE | 2
65 | foldable posterior chamber (3- piece) intraocular lens power 6 | SINGLE | 2
66 | foldable posterior chamber (3- piece) intraocular lens power 7 | SINGLE | 2
67 | foldable posterior chamber (3- piece) intraocular lens power 8 | SINGLE | 2
68 | foldable posterior chamber (3- piece) intraocular lens power 9 | SINGLE | 2
69 | foldable posterior chamber (3- piece) intraocular lens power 10 | SINGLE | 2
70 | foldable posterior chamber (3- piece) intraocular lens power11 | SINGLE | 2
71 | foldable posterior chamber (3- piece) intraocular lens power12 | SINGLE | 2
72 | foldable posterior chamber (3- piece) intraocular lens power13 | SINGLE | 2
73 | foldable posterior chamber (3- piece) intraocular lens power14 | SINGLE | 2
74 | foldable posterior chamber (3- piece) intraocular lens power15 | SINGLE | 2
75 | foldable posterior chamber (3- piece) intraocular lens power15.5 | SINGLE | 2
76 | foldable posterior chamber (3- piece) intraocular lens power16 | SINGLE | 2
77 | foldable posterior chamber (3- piece) intraocular lens power16.5 | SINGLE | 2
78 | foldable posterior chamber (3- piece) intraocular lens power17 | SINGLE | 2
79 | foldable posterior chamber (3- piece) intraocular lens power17.5 | SINGLE | 2
80 | foldable posterior chamber (3- piece) intraocular lens power18 | SINGLE | 5
81 | foldable posterior chamber (3- piece) intraocular lens power18.5 | SINGLE | 4
82 | foldable posterior chamber (3- piece) intraocular lens power19 | SINGLE | 5
83 | foldable posterior chamber (3- piece) intraocular lens power19.5 | SINGLE | 5
84 | foldable posterior chamber (3- piece) intraocular lens power20 | SINGLE | 5
85 | foldable posterior chamber (3- piece) intraocular lens power20.5 | SINGLE | 5
86 | foldable posterior chamber (3- piece) intraocular lens power21 | SINGLE | 5
87 | foldable posterior chamber (3- piece) intraocular lens power21.5 | SINGLE | 5
88 | foldable posterior chamber( 3- piece) intraocular lens power 22 | SINGLE | 5
89 | foldable posterior chamber( 3- piece) intraocular lens power 22.5 | SINGLE | 5
90 | foldable posterior chamber( 3- piece) intraocular lens power 23 | SINGLE | 5
91 | foldable posterior chamber( 3- piece) intraocular lens power 23.5 | SINGLE | 5
92 | foldable posterior chamber( 3- piece) intraocular lens power 24 | SINGLE | 5
93 | foldable posterior chamber( 3- piece) intraocular lens power 24.5 | SINGLE | 5
94 | foldable posterior chamber( 3- piece) intraocular lens power 25 | SINGLE | 5
95 | foldable posterior chamber( 3- piece) intraocular lens power 26 | SINGLE | 5
96 | foldable posterior chamber( 3- piece) intraocular lens power 27 | SINGLE | 3
97 | foldable posterior chamber( 3- piece) intraocular lens power 28 | SINGLE | 3
98 | foldable posterior chamber( 3- piece) intraocular lens power 29 | SINGLE | 2
99 | foldable posterior chamber( 3- piece) intraocular lens power 30 | SINGLE | 3
100 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR 1 | SINGLE | 2
101 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR 2 | SINGLE | 2
102 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR 3 | SINGLE | 2
103 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR 4 | SINGLE | 2
104 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR 5 | SINGLE | 2
105 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR 6 | SINGLE | 2
106 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR 7 | SINGLE | 2
107 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR 8 | SINGLE | 2
108 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR 9 | SINGLE | 2
109 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR 10 | SINGLE | 3
110 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR 10.5 | SINGLE | 3
111 | INTRAOCULAR RIGID LensPOSTERIOR CHAMPER POWR 11.5 | SINGLE | 4
112 | INTRAOCULAR RIGID LensPOSTERIOR CHAMPER POWR 12.5 | SINGLE | 4
113 | INTRAOCULAR RIGID LensPOSTERIOR CHAMPER POWR 13.5 | SINGLE | 4
114 | INTRAOCULAR RIGID LENS POSTERIOR CHAMPER POWR 14.5 | SINGLE | 4
115 | INTRAOCULAR RIGID LENS POSTERIOR CHAMPER POWR 15.5 | SINGLE | 4
116 | INTRAOCULAR RIGID LENS POSTERIOR CHAMPER POWR 16.5 | SINGLE | 4
117 | INTRAOCULAR RIGID LENS POSTERIOR CHAMPER POWR 17.5 | SINGLE | 4
118 | INTRAOCULAR RIGID LENS POSTERIOR CHAMPER POWR 18.5 | SINGLE | 4
119 | INTRAOCULAR RIGID LENS POSTERIOR CHAMPER POWR 19 | SINGLE | 6
120 | INTRAOCULAR RIGID LENS POSTERIOR CHAMPER POWR 19.5 | SINGLE | 6
121 | INTRAOCULAR RIGID LENS POSTERIOR CHAMPER POWR20.5 | SINGLE | 6
122 | INTRAOCULAR RIGID LENS POSTERIOR CHAMPER POWR 21.5 | SINGLE | 7
123 | INTRAOCULAR RIGID LENS POSTERIOR CHAMPER POWR 22.5 | SINGLE | 7
124 | INTRAOCULAR RIGID LENS POSTERIOR CHAMPER POWR 23.5 | SINGLE | 7
125 | INTRAOCULAR RIGID LENS POSTERIOR CHAMPER POWR 24.5 | SINGLE | 6
126 | INTRAOCULAR RIGID LENS Anterior CHAMPER POWR 10.5 | SINGLE | 4
127 | INTRAOCULAR RIGID LENS AnteriorCHAMPER POWR 11.5 | SINGLE | 3
128 | INTRAOCULAR RIGID LENS Anterior CHAMPER POWR 12.5 | SINGLE | 3
129 | INTRAOCULAR RIGID LENS Anterior CHAMPER POWR 13.5 | SINGLE | 3
130 | INTRAOCULAR RIGID LENS AnteriorCHAMPER POWR 14.5 | SINGLE | 3
131 | INTRAOCULAR RIGID LENS Anterior CHAMPER POWR 15.5 | SINGLE | 3
132 | INTRAOCULAR RIGID LENS AnteriorCHAMPER POWR 16.5 | SINGLE | 3
133 | INTRAOCULAR RIGID LENS AnteriorCHAMPER POWR 17.5 | SINGLE | 5
134 | INTRAOCULAR RIGID LENS AnteriorCHAMPER POWR 18.5 | SINGLE | 5
135 | INTRAOCULAR RIGID LENS AnteriorCHAMPER POWR 19.5 | SINGLE | 5
136 | INTRAOCULAR RIGID LENS Anterior CHAMPER POWR20.5 | SINGLE | 5
137 | INTRAOCULAR RIGID LENS Anterior CHAMPER POWR 21.5 | SINGLE | 5
138 | INTRAOCULAR RIGID LENS Anterior CHAMPER POWR 22.5 | SINGLE | 5
139 | INTRAOCULAR RIGID LENS Anterior CHAMPER POWR 23.5 | SINGLE | 6
140 | INTRAOCULAR RIGID LENS Anterior CHAMPER POWR 24.5 | SINGLE | 4
141 | phaco cassette without filter # (compatable oertli machine ) | SINGLE | 1
142 | PHACO KERATOME KNIFE 2.2MM | SINGLE | 1500
143 | SUPER SHARP KNIFE | SINGLE | 5
144 | GERRN MICROFLOW2.2MM SLEEVE BOX OF 12 | BOX | 3
145 | Victroctomy Kit PENEUMMATIC CUTTER wide field 23G (compatable bausch &lomb machine ) BOX OF 6 | BOX | 15
146 | PENEUMMATIC CUTTER 23 G HIGH SPEED biblade (TDC) (compatable bausch &lomb machine ) | SINGLE | 15
147 | PENEUMMATIC CUTTER 23G REUSABLE PORT (compatable bausch &lomb machine ) BOX OF 6 | BOX | 8
148 | ADAPTER FOR VIRTUCROM ASPIRATION PORT (compatable bausch &lomb machine ) | SINGLE | 30
149 | CISSORS 23 G PORT vertical | SINGLE | 5
150 | ECKARDT FORCEPS 23 G PORT vertical | SINGLE | 5
151 | SERRATED FORCEPS 23 G PORT vertical | SINGLE | 5
152 | victroctomy trocor 23G | SINGLE | 40
153 | BACKFLUSH NEEDLE 23G PORT | SINGLE | 13
154 | DIAMOND BRUSH NEDLE 23 G PORT | SINGLE | 7
155 | BACKFLUSH HANDLE PORT | SINGLE | 7
156 | LIGHT FIBER 23 G SPOT PORT (compatable bausch &lomb machine ) | SINGLE | 5
157 | LIGHT FIBER 23 G WIDE ANGLE PORT (compatable bausch &lomb machine ) | SINGLE | 20
158 | foldable posterior chamber single piece intraocular lens power (minus ) -1 | SINGLE | 2
159 | foldable posterior chamber single piece intraocular lens power (minus ) -2 | SINGLE | 2
160 | foldable posterior chamber single piece intraocular lens power (minus ) -3 | SINGLE | 2
161 | foldable posterior chamber single piece intraocular lens power (minus ) -4 | SINGLE | 1
162 | foldable posterior chamber single piece intraocular lens power (minus ) -5 | SINGLE | 1
163 | foldable posterior chamber single piece intraocular lens power (minus ) -6 | SINGLE | 1
164 | foldable posterior chamber single piece intraocular lens power (minus ) -7 | SINGLE | 1
165 | foldable posterior chamber single piece intraocular lens power (minus ) -8 | SINGLE | 1
166 | foldable posterior chamber single piece intraocular lens power (minus ) -9 | SINGLE | 1
167 | foldable posterior chamber single piece intraocular lens power (minus ) -10 | SINGLE | 1
168 | foldable posterior chamber single piece intraocular lens power (minus ) -11 | SINGLE | 1
169 | foldable posterior chamber single piece intraocular lens power (minus ) -12 | SINGLE | 1
170 | foldable posterior chamber single piece intraocular lens power (minus ) -13 | SINGLE | 1
171 | foldable posterior chamber single piece intraocular lens power (minus ) -14 | SINGLE | 1
172 | foldable posterior chamber single piece intraocular lens power (minus ) -15 | SINGLE | 1
173 | foldable posterior chamber single piece intraocular lens power (minus ) -16 | SINGLE | 1
174 | foldable posterior chamber single piece intraocular lens power (minus ) -17 | SINGLE | 1
175 | foldable posterior chamber single piece intraocular lens power (minus ) -18 | SINGLE | 1
176 | foldable posterior chamber single piece intraocular lens power (minus ) -19 | SINGLE | 1
177 | foldable posterior chamber single piece intraocular lens power (minus ) -20 | SINGLE | 1
178 | foldable posterior chamber single piece intraocular lens power (minus ) -21 | SINGLE | 1
179 | foldable posterior chamber single piece intraocular lens power (minus ) -22 | SINGLE | 1
180 | foldable posterior chamber single piece intraocular lens power (minus ) -23 | SINGLE | 1
181 | foldable posterior chamber single piece intraocular lens power (minus ) -24 | SINGLE | 1
182 | foldable posterior chamber single piece intraocular lens power (minus ) -25 | SINGLE | 1
183 | foldable posterior chamber single piece intraocular lens power (minus ) -26 | SINGLE | 1
184 | foldable posterior chamber single piece intraocular lens power (minus ) -27 | SINGLE | 1
185 | foldable posterior chamber single piece intraocular lens power (minus ) -28 | SINGLE | 1
186 | foldable posterior chamber single piece intraocular lens power (minus ) -29 | SINGLE | 1
187 | foldable posterior chamber single piece intraocular lens power (minus ) -30 | SINGLE | 1
188 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -1 | SINGLE | 1
189 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -2 | SINGLE | 1
190 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -3 | SINGLE | 1
191 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -4 | SINGLE | 1
192 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -5 | SINGLE | 1
193 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -6 | SINGLE | 1
194 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -7 | SINGLE | 1
195 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -8 | SINGLE | 1
196 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -9 | SINGLE | 1
197 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -10 | SINGLE | 1
198 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -11 | SINGLE | 1
199 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -12 | SINGLE | 1
200 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -13 | SINGLE | 1
201 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -14 | SINGLE | 1
202 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -15 | SINGLE | 1
203 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -16 | SINGLE | 1
204 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -17 | SINGLE | 1
205 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -18 | SINGLE | 1
206 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -19 | SINGLE | 1
207 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -20 | SINGLE | 1
208 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -21 | SINGLE | 1
209 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -22 | SINGLE | 1
210 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -23 | SINGLE | 1
211 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -24 | SINGLE | 1
212 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -25 | SINGLE | 1
213 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -26 | SINGLE | 1
214 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -27 | SINGLE | 1
215 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -28 | SINGLE | 1
216 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -29 | SINGLE | 1
217 | INTRAOCULAR RIGID LENSPOSTERIOR CHAMPER POWR (minus ) -30 | SINGLE | 1
218 | Sub-Tenon`s Anesthesia Cannula19 Ga x 1 in (1.10 x 25 mm) | SINGLE | 100
219 | VISI SPEAR MICROSURGICAL EYE SPON HAS FLAT TIP BOX/100) | BOX | 16
220 | DCR SET ANGLED 45.20G*13/4INCH/BOX2 | BOX | 16
221 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 20 | SINGLE | 200
222 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 19 | SINGLE | 200
223 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 18 | SINGLE | 200
224 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 23 | SINGLE | 200
225 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 24 | SINGLE | 150
226 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 25 | SINGLE | 70
227 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 26 | SINGLE | 50
228 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 27 | SINGLE | 22
229 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 28 | SINGLE | 20
230 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 7 | SINGLE | 7
231 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 8 | SINGLE | 7
232 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 17.5 | SINGLE | 100
233 | foldable posterior chamber single piece intraocular lens power 1 | SINGLE | 4
234 | foldable posterior chamber single piece intraocular lens power 2 | SINGLE | 4
235 | foldable posterior chamber single piece intraocular lens power 3 | SINGLE | 4
236 | foldable posterior chamber single piece intraocular lens power 4 | SINGLE | 4
237 | foldable posterior chamber single piece intraocular lens power 5 | SINGLE | 4
238 | foldable posterior chamber single piece intraocular lens power 6 | SINGLE | 4
239 | foldable posterior chamber single piece intraocular lens power 9 | SINGLE | 6
240 | foldable posterior chamber single piece intraocular lens power 10 | SINGLE | 9
241 | foldable posterior chamber single piece intraocular lens power 11 | SINGLE | 9
242 | foldable posterior chamber single piece intraocular lens power 12 | SINGLE | 9
243 | foldable posterior chamber single piece intraocular lens power 13 | SINGLE | 9
244 | foldable posterior chamber single piece intraocular lens power 14 | SINGLE | 10
245 | foldable posterior chamber single piece intraocular lens power 15 | SINGLE | 80
246 | foldable posterior chamber single piece intraocular lens power 15.5 | SINGLE | 80
247 | foldable posterior chamber single piece intraocular lens power 16 | SINGLE | 80
248 | foldable posterior chamber single piece intraocular lens power 16.5 | SINGLE | 80
249 | foldable posterior chamber single piece intraocular lens power 18.5 | SINGLE | 130
250 | foldable posterior chamber single piece intraocular lens power 19.5 | SINGLE | 130
251 | foldable posterior chamber single piece intraocular lens power 20.5 | SINGLE | 300
252 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 21 | SINGLE | 300
253 | foldable posterior chamber single piece intraocular lens power 21.5 | SINGLE | 300
254 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 22 | SINGLE | 300
255 | foldable posterior chamber single piece intraocular lens power 22.5 | SINGLE | 300
256 | foldable posterior chamber single piece intraocular lens power 23.5 | SINGLE | 220
257 | foldable posterior chamber single piece intraocular lens power 24.5 | SINGLE | 120
258 | foldable posterior chamber single piece intraocular lens power 29 | SINGLE | 8
259 | foldable posterior chamber single piece intraocular lens power 30 | SINGLE | 8
260 | ragide lenses ANTERIOR CAMPER power# 1 | SINGLE | 2
261 | ragide lenses ANTERIOR CAMPER power# 2 | SINGLE | 2
262 | ragide lenses ANTERIOR CAMPER power# 4 | SINGLE | 2
263 | ragide lenses ANTERIOR CAMPER power# 5 | SINGLE | 2
264 | FOLDABLE POSTERIOR CHAMBER SINGLE PIECE INTRAOCULAR LENS POWER 17 | SINGLE | 100
265 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 11.5 | SINGLE | 10
266 | INTRAOCULAR FOLDABLE LENSES POSTERIOR CHAMPER POWR 13.5 | SINGLE | 10
267 | PERFLUOROPROPANE (C3F8) GAS SINGLE | SINGLE | 15
268 | AHMAD GLUCOMA AVALVE | SINGLE | 20
269 | foldable posterior chamber single piece intraocular lens power 0 | SINGLE | 4
اجمالي السعر المقدم بالشيكل شامل ضريبة القيمة المضافة