## للشركات 46-2024
مناقصة رقم 46/2024
شراء وتوريد المستهلكات الطبية السنوية للعام 2024 لصالح وزارة الصحة ومديرية الخدمات الطبية العسكرية
رقم البند | الصنف | الوحدة | الكمية /الصحه | كمية /الخدمات الطبية | سعر الوحدة بالشيكل شامل ض.ق.م | اجمالي السعر المقدم للوحدة بالشيكل شامل ض.ق.م | Trade name | Manufacture | ORIGIN | ملاحظات
1 | NYLON BAG 25CM | ROLL | 463 | 0
2 | NYLON BAG 30CM | ROLL | 563 | 0
3 | , CATHETER FOLLY 2 WAY BALLON CATHETER (LATEX SILICONIZED) ,VOLUM3-5 ML,SIZE 8 | SINGLE | 1073 | 0
4 | CATHETER FOLLY 2 WAY BALLON CATHETER (LATEX SILICONIZED), VOLUM 5-, ML , SIZE 12 CH ,CATHETER LENGTH 40 15 CM | SINGLE | 1103 | 0
5 | CATHETER FOLLY 2 WAY BALLON CATHETER(LATEX SILICONIZED),VOLUM 5-15, .ML,SIZE 14 CH , CATHETER LENGTH 40 CM | SINGLE | 283 | 0
6 | CATHETER FOLLY 2 WAY BALLON , CATHETER (LATEX SILICONIZED) , VOLUM 5-15 ML , SIZE 16 CH , CATHETER LENGTH 40 CM. | SINGLE | 15096 | 0
7 | CATHETER FOLLY 2 WAY BALLON CATHETER LATEX SILICONIZED) ,VOLUM 5-15 ML, SIZE) .CH , CATHETER LENGTH 40 CM 18 | SINGLE | 10833 | 0
8 | , CATHETER FOLLY 2 WAY BALLON CATHETER ( LATEX SILICONIZED) , VOLUM 5- ML , SIZE 22 CH , CATHETER LENGTH 40 15 CM | SINGLE | 1506 | 0
9 | CATH FOLEY 3WAY #18FR | SINGLE | 200 | 0
10 | CATH FOLEY 3WAY #20FR | SINGLE | 266 | 0
11 | CATH FOLEY 3WAY #22FR | SINGLE | 296 | 0
12 | CATH FOLEY 3WAY #24FR | SINGLE | 596 | 0
13 | folly catheter 3 way #24 dufour post prostate surgery | SINGLE | 56 | 0
14 | , CATHETER FOLLY 2 WAY BALLON CATHETER ( LATEX SILICONIZED) , VOLUM 3- ML , SIZE 6 CH 5 | SINGLE | 1290 | 0
15 | CATH EMBOLECTOMY 4FR 80- 85 CM | SINGLE | 148 | 0
16 | CATH EMBOLECTOMY 5FR 80- 85CM | SINGLE | 41 | 0
17 | CATH EMBOLECTOMY 2FR 80- 85 CM | SINGLE | 85 | 0
18 | CATH SILICON 2WAY #8FR | SINGLE | 216 | 160
19 | CATH SILICON 2WAY #10FR | SINGLE | 173 | 160
20 | CATH SILICON 2WAY #12 FR | SINGLE | 213 | 160
21 | CATH SILICON 2WAY #14FR | SINGLE | 736 | 16
22 | CATH SILICON 2WAY #16FR | SINGLE | 1588 | 160
23 | CATH SILICON 2WAY #18FR | SINGLE | 1529 | 160
24 | CATH SILICON 2WAY #20FR | SINGLE | 356 | 160
25 | CATH SILICON 3 WAY 22 CH | SINGLE | 93 | 160
26 | CATHETER SILICON FOLLY 3 WAY 5-15 cc BALLON size 24 FR | SINGLE | 100 | 0
27 | catheter suction approx 40cm with finger tip.disp.steril size:6 | SINGLE | 15366 | 0
28 | catheter suction approx 40cm.disp.sterilwith finger tipl size: 10 | SINGLE | 10810 | 0
29 | catheter suction approx 40cm.disp.steril with finger tipl size: 12 | SINGLE | 4326 | 0
30 | catheter suction approx 40cm.disp.steril with finger tipl size: 18 | SINGLE | 7360 | 0
31 | Catheter nelaton approx40cm disp. steril size :8 | SINGLE | 10266 | 0
32 | Catheter nelaton approx40cm disp. steril size :10 | SINGLE | 24833 | 0
33 | Catheter nelaton approx40cm disp. steril size :12 | SINGLE | 36363 | 0
34 | Catheter nelaton approx40cm disp. steril size :14 | SINGLE | 35763 | 0
35 | Catheter nelaton approx40cm disp. steril size :16 | SINGLE | 766 | 0
36 | CATHTER TIEMAN SIZE 8CH , LENGTH 40CM CLOSED AND CURVED TIP ,2 LATERAL) (EYES | SINGLE | 420 | 0
37 | CATHTER TIEMAN SIZE 12CH , LENGTH 40CM CLOSED AND CURVED TIP ,2 LATERAL) (EYES | SINGLE | 206 | 0
38 | CATHTER TIEMAN SIZE14CH , LENGTH 40CM CLOSED AND CURVED TIP ,2 LATERAL) (EYES | SINGLE | 220 | 0
39 | CATHTER TIEMAN SIZE16CH , LENGTH 40CM CLOSED AND CURVED TIP ,2 LATERAL) (EYES | SINGLE | 195 | 0
40 | CATH TEIMAN #18 CH | SINGLE | 40 | 0
41 | CATHTER TIEMAN SIZE 10CH , LENGTH 40CM CLOSED AND CURVED TIP ,2 LATERAL) (EYES | SINGLE | 73 | 0
42 | Catheter thoracic drange w/trocar and sentinal straight round softtip radio-opaque approx 20cm length .size:FG8 | SINGLE | 388 | 0
43 | Catheter thoracic drange w/trocar and sentinal straight round softtip radio-opaque approx 20cm length .size:FG10 | SINGLE | 453 | 0
44 | Catheter thoracic drange w/trocar and sentinal straight round softtip radio-opaque approx 20cm length .size:FG12 | SINGLE | 152 | 0
45 | CHEST TUBE WITH TROCAR14 CH | SINGLE | 12 | 0
46 | Catheter thoracic drange w/trocar and sentinal straight round softtip radio-opaque approx 20cm length .size:FG20 | SINGLE | 153 | 0
47 | Catheter thoracic drange w/trocar and sentinal straight round softtip radio-opaque approx 20cm length .size:FG24 | SINGLE | 166 | 0
48 | Catheter thoracic drange w/trocar and sentinal straight round softtip radio-opaque approx 20cm length .size:FG28 | SINGLE | 428 | 0
49 | Catheter thoracic drange w/trocar and sentinal straight round softtip radio-opaque approx 20cm length .size:FG32 | SINGLE | 600 | 0
50 | Catheter thoracic drange w/trocar and sentinal straight round softtip radio-opaque approx 20cm length .size:FG16 | SINGLE | 156 | 0
51 | CHEST TUBE WITH TROCAR 18 CH | SINGLE | 226 | 0
52 | CHEST TUBE WITHOUT TROCAR 28 CH | SINGLE | 170 | 0
53 | CHEST TUBE WITHOUT TROCAR 36 CH | SINGLE | 298 | 0
54 | THORASIC CATH #16 without trocar | SINGLE | 2 | 0
55 | CATHETER URETHRIC #4 CLOSED END | SINGLE | 8 | 0
56 | CATHETER URETHRIC #6 CLOSED END | SINGLE | 30 | 0
57 | CHEST TUBE WITHOUT TROCAR SIZE :22 | SINGLE | 15 | 0
58 | CHEST TUBE WITHOUT TROCAR SIZE :24 | SINGLE | 10 | 0
59 | CLOSED SYSTEM SUCTION CATHETER CH 12-14-16 | SINGLE | 2560 | 0
60 | C.V.P CATH 1 LUMEN 5FR *12 CM NEEDLE 18G | SET | 305 | 0
61 | CLOSED SYSTEM SUCTION CATHETER FOR PEDIATRIC AND NEONATE (6.8.10 Fr) SIZE | SINGLE | 7850 | 0
62 | PICC LINE ADULT (PERIPHERAL CENTRAL CATHETER KIT | SINGLE | 1000 | 0
63 | PICC LINE NEONATE (PERIPHERAL CENTRAL CATHETER KIT | SINGLE | 1000 | 0
64 | ARTERIAL GUIDE LEADER CATHETER GAUGE .18/.20.22(ANTI-KINK COLLAR MAINTAINS PATENCY WINGED HUB FOR SECURE FIXATION RED HUB FOR EASY IDENTIFICATION .EASY INSERT SOFT -TIPPED GUIDEWIRE | SINGLE | 2900 | 0
65 | CERVICAL BALLOON DISPOSABLR(SILICON DOUBLE BALLOON CATHETER | SINGLE | 160 | 0
66 | CENTRAL LINE 3 FRENCH 5 CM AND 2 LUME | SINGLE | 764 | 0
67 | YANKER SUCTION CATHETER HANDLE (PLASTIC DISPOSABLE | SINGLE | 7300 | 0
68 | C.V.P CATH 1 LUMEN 3 FR* 8 CM | SINGLE | 385 | 0
69 | C.V.P CATH 1 LUMEN 4 FR * 15 CM | SET | 186 | 0
70 | C.V.P CATH TRILUMEN 7FR*20CM NEEDLE 18G | SINGLE | 1676 | 0
71 | C.V.P CATH BILUMEN 7FR*20CM NEEDLE 18G | SINGLE | 850 | 0
72 | C.V.P CATH BILUMEN 4FR*10CM NEEDLE 21G | SINGLE | 475 | 0
73 | CENTRAL VENOUS BILUMEN 4FR*5CM | SET | 370 | 0
74 | C.V.P 3 LUMEN CATHETER #8.5 FR*15CM | SINGLE | 30 | 0
75 | TRANS OBTRATOR TAB(TOT)شبره لسلس البول | SINGLE | 10 | 0
76 | Canula intravenous teflon w/wings w/injection port disp.steril size:14 | SINGLE | 8433 | 0
77 | Canula intravenous teflon w/wings w/injection port disp.steril size:16 | SINGLE | 9333 | 0
78 | Canula intravenous teflon w/wings w/injection port disp.steril size:17 | SINGLE | 666 | 0
79 | Canula intravenous teflon w/wings w/injection port disp.steril size:18 | SINGLE | 124666 | 10000
80 | Canula intravenous teflon w/wings w/injection port disp.steril size:20 | SINGLE | 553333 | 10000
81 | Canula intravenous teflon w/wings w/injection port disp.steril size:22 | SINGLE | 352666 | 12000
82 | Canula intravenous teflon w/wings w/injection port disp.steril size:24 | SINGLE | 161333 | 5000
83 | UMBILICAL ARTERIAL AND VENOUS CATHETER SIZE 3.5-5 FR(size3.5+4+5) | SINGLE | 6000 | 0
84 | SCALP VAIN leurlock steri #23G | SINGLE | 82166 | 80000
85 | CANULA GAUGE 26 | SINGLE | 21000 | 0
86 | SILK 2/0 C/N needle 3/8circle 26mm 75cm length | DZ | 121 | 0
87 | *SILK 0 1/2 CIRCLE R/N 31mm *75cm | DZ | 91 | 0
88 | Silk 0 C/N 3/8 CIRCLE 45MM 75CM | DZ | 159 | 0
89 | Silk1 C/N 1/2CIRCLE 36MM 75CM | DZ | 484 | 0
90 | SILK 1 W/O NEEDLE , LENGTH 120 CM | DZ | 55 | 0
91 | STAPLE EXTRACTOR | SINGLE | 73 | 50
92 | SILK 3/0 C/N needle shape3/8circle 26mm 45 length | DZ | 673 | 100
93 | SILK 2/0 C/N needle shape3/8circle 26mm 45 length | DZ | 0 | 100
94 | SILK 4/0 C/N needle shape3/8circle 26mm 45 length | DZ | 0 | 100
95 | SILK 5/0 C/N needle shape3/8circle 26mm 45 length | DZ | 0 | 100
96 | SILK 2/0 10*75CM WITH OUT NEEDILE | DZ | 10 | 0
97 | * silk 6/0 C/N 11mm*45cm 3/8 circle | DZ | 45 | 0
98 | Nylon 10/0 spatula needle 3/8 circle 6.4mm 30cm | DZ | 38 | 0
99 | VICRYL 6/0 R/N needle 1/12circle 13mm length45cm | DZ | 7 | 0
100 | vicryl 3/0 R/N needle 1/2 circle 26mm length 75cm | DZ | 53
101 | VICRYL 7/0 POLYGLACTIN OR ALIKE DOUBLE NEEDLE 6.5 MM 3/8 CIRCLE , SPATULA , MICROPOINT , 45 CM LENGTH | DZ | 8 | 0
102 | polyglaction 910or alik( VICRYL) 6/0 SPATULATED 1/4 CIRCLE double NEEDLE DIAM 440 MICRONS 8MM LENGTH 45CM * VIOLET | DZ | 5 | 0
103 | vicryl 0 R/N taper point needle 1/2circle 40mm length 75cm | DZ | 256 | 0
104 | polyglaction 910or alik(VICRYL 5/0 R/N 1/2CIRCLE 17MM 75CM | DZ | 53 | 0
105 | * PROLENE 1 with vinyl W 2989 C\N | DZ | 102 | 0
106 | PROLINE 2/0 REVERSE CUT NEEDLE 3/8 CIRCLE 26 MM * 75 CM | DZ | 74 | 0
107 | polypropolene (prolene) 4/0 C/N 3/8circle 19mm 45cm | DZ | 86 | 0
108 | PROLENE 5/0 R/N 16mm 1/2circle double needle *90 cm | DZ | 95 | 0
109 | polypropolene 6/0 R/N 9.3mm , 3/8 circle * 75 cm double needle | DZ | 162 | 0
110 | prolene 7/0 ROUND NEEDLE 13MM*75cm double 3/8circle needil | DZ | 138 | 0
111 | PROLENE MESH 30X30(monfilament * polypropylen) pm--l30*30cm | SHEAT | 222 | 0
112 | prolene 7/0 taper point 75 cm 9.3 mm double needle | DZ | 10 | 0
113 | PROLENE 5/0 19 mm 3/8 circle , 75 cm | DZ | 63 | 0
114 | POLYPROPOLINE (PROLIN 6/0 R/N 13MM 3/8 CIRCLE 75CM DOUBLE NEEDLE | DZ | 214 | 0
115 | PROLYN 8/0 R/N double needle 3/8 circle multipass 8 mm * 75 cm | DZ | 4 | 0
116 | PROLENE MESH (7cm*11CM)+(15cm*15cm) | SINGLE | 400 | 0
117 | POLYPROPOLINE (PROLIN 7/0 R/N 9.3MM 3/8 CIRCLE 75CM DOUBLE NEEDLE | DZ | 134 | 0
118 | polypropolene 8/0 R/N double needle , 13 mm * 75 cm | DZ | 10 | 0
119 | NYLON 2/0 3/8circle REVERS CUTTING NEEDLE 45MM LENGTH 1M BLU | DZ | 36 | 0
120 | polyester sutuer 3/0 R/N 1/2 circle 20mm ethibond) | DZ | 5 | 0
121 | polyester sutuer 2/0 R/N 1/2circle w/pledget 1.5mm25mm(ethibond) 90CM*6*3 | DZ | 7 | 0
122 | polyester sutuer with pledget 3*6*1.5mm ethibond)2/0 R/N 1/2circle) duoble needle 18mm 75cm | DZ | 7 | 0
123 | polyester (ethibond) 5 R/N 3/8 CIRCLE 50MM | BOX | 10 | 0
124 | SKIN STAPLER TLC35 #-36 | SINGLE | 3116 | 0
125 | polydioxanone or alik( PDS) 4/0 reverse C/N 3/8circle 19mm 75cm | DZ | 7 | 0
126 | polydioxanone or alik (PDS) 5/0 CUTTING * NEEDLE 15MM 3/8 CIRCLE 75CM | DZ | 10 | 0
127 | NYLON TAPE 100CM | DZ | 60 | 0
128 | Nylon 3/0 reverse C/N 3/8circle 26mm 45cm | DZ | 148 | 0
129 | prolene 5/0 reverse cutt 3/8circle 13mm 45cm | DZ | 10 | 0
130 | VICRYL 3/0 C/N NEEDLE 3/8CIRCLE 16MM LENGTH 75CM RAPID | DZ | 134 | 0
131 | VICRYL 4/0 C/N 3/8CIRCLE 13MM LENGTH 75CM RAPID | DZ | 89 | 0
132 | Polypropoline (PROLIN 5/0 RN 13MM 3/8 CIRCLE 75 CM DOUBLE NEEDLE | DZ | 40 | 0
133 | POLYPROLENE 10-0 STRAIGHT DOUBLE ARM NEEDLE (0.2 ph.EUR) NEEDLE STC-6 ,16MM, REVERSE CUTTING MICRO -POINT SUTURE LENGTH | DZ | 8 | 0
134 | Polydioxanone or alik 4/0 taper point 3/8 circle (17mm 70cm (PDS | DZ | 10 | 0
135 | prolene 6/0reverse cutt 3/8circle 13mm 45cm | DZ | 22 | 0
136 | ) polyglaction 910or alik 3/0 R/N 3/8circle 17mm (vicryl | DZ | 8 | 0
137 | NYLON 6/0 REVERSE C/N 3/8 CIRCLE 16MM LENGTH 45CM | DZ | 6 | 0
138 | PDS 5/0 R/N 13MM 1/2 CIRCLE | DZ | 110 | 0
139 | CLIP REMOVAL DISPOSABLE(PLASTIC) | SINGLE | 2433 | 0
140 | polyglaction 910or alik (VICRYL) 8/0 SPATULATED 3/8CIRCLE 6MM 45CM DOUBLE NEEDLE SHARP NEEDLE | DZ | 10 | 0
141 | OXIDIASED REGENERATED CELLULOSE SURGICELL ABSORBABLE 5/7.5CM BOX / 20 | SINGLE | 1540 | 0
142 | silicon sling (ETHILOOP) 1.1mm BP5-4 25mm 3/8circle | DZ | 28 | 0
143 | Polyglactin910 or alik 0 R/N J/N heavy 36mm 75cm vicryl | DZ | 45 | 0
144 | BON WAX 2.5GM SURGICAL HEMOSTATIC | DZ | 54 | 0
145 | Polester 2 ROUND BODIED BLUNT 50 MM * 40 CM DOUBLE NEEDLE 1/2 CIRCLE WITH WHITE TAPE | DZ | 18 | 0
146 | Nylon 4/0 C/N 3/8circle 19mm 75cm | DZ | 1 | 0
147 | polydioxanone or alik PDS 2/0 R/N 40MM 1/2CIRCLE 75 CM | DZ | 2 | 0
148 | PDS 0 R/N 40 MM * 75 CM | DZ | 34 | 0
149 | VICRYL 1 J NEEDlE R/N 31*75 cm | DZ | 29 | 0
150 | polydioxanone or alik PDS 2 R/N 50mm 1/2circle 90cm | DZ | 73 | 0
151 | polydioxanone or alik PDS 1 R/N 31mm 1/2circle 75cm | DZ | 22 | 0
152 | PDS 7/0 R/N DOUBLE NEEDLE 9.3 MM * 75 CM | DZ | 10 | 0
153 | VESSELE LOOP BLU+RED double pack | SINGLE | 1040 | 0
154 | poliglecaprone(MONOCRYL) 5/0 19MM REVERSE CUTTING NEEDLE 3/8 circle 45cm | DZ | 32 | 0
155 | poliglecaprone (MONOCRYL) 4/0 24MM REVERSE CUTTING NEEDLE | DZ | 60 | 0
156 | VICRYL 2 LIVER STITCH BLUNT POINT R/B 66 MM NEEDLE 75CM | DZ | 26 | 0
157 | .ENDOLOOP COATED .polyglactin(0).45cm vicryl Or alike | DZ | 68 | 0
158 | poliglecaprone 3/0 reverse C/N 3/8circle (24mm(monocryl | DZ | 38 | 0
159 | poliglecaprone 4/0 reverse C/N 3/8circle 0mm(monocryl) 19mm 75cm | DZ | 80 | 0
160 | PDS 6/0 R/N needle 3/8 circle 13mm | DZ | 115 | 0
161 | SURGICELL 10*20CM BOX/20 | BOX | 140 | 0
162 | Electrosurgery Pencil with Advanced Cutting Effect Blade | SINGLE | 24933 | 0
163 | DROW SHEET 60 *90 المبطن | SINGLE | 720133 | 0
164 | NURSE HAT DIPOSABLE | SINGLE | 533400 | 0
165 | DISP COVER SHOESE | SINGLE | 308753 | 0
166 | DISP GOWN ISOLATION GOWN WITH COTTON CUFF BLUE COLOR LARGE SIZE | SINGLE | 8300 | 0
167 | (DISPOSABLE PLASTIC APRON( MAKINTOSH | SINGLE | 298666 | 0
168 | DISPOSABLE SHEET 80*180 | SINGLE | 331916 | 1000
169 | SHEET WATER PROOF FOR STERLIZATION 120*#120 | SINGLE | 248433 | 0
170 | NON-INVASIVE MECHANICAL VENTILATION (NIV) mask LARGE | SINGLE | 93 | 0
171 | NON-INVASIVE MECHANICAL VENTILATION (NIV) mask MEDIUM | SINGLE | 105 | 0
172 | NON-INVASIVE MECHANICAL VENTILATION (NIV) mask EXTRA LARGE | SINGLE | 10 | 0
173 | Camera sleeve sterile disposable | SINGLE | 33233 | 0
174 | C-ARM cover sterile disposable | SINGLE | 49155 | 0
175 | Mayotray cover sterile disposable | SINGLE | 43983 | 0
176 | SHEET WATER PROOF FOR STERLIZATION 75*#75 | SINGLE | 97866 | 0
177 | SHEET WATER PROOF FOR STERLIZATION 90*#90 | SINGLE | 179833 | 0
178 | Microscope cover sterile disposable | SINGLE | 25000 | 0
179 | SURGICAL GOWN STERIL REINFORCED WITH 2 TOWELS 2 WRAP +water proof | SINGLE | 150000 | 0
180 | WATERPROOF APRON | SINGLE | 12866 | 0
181 | STERIL SURGICAL DRAPE UNIVERSAL BACKGE COMPLELE SET WITH TOW REINFORCED SURGICAL GOWN | SET | 15000 | 0
182 | BED WRIST AND ANKLE( RESTRAINING -LAYER SPONGE.EASY USEFASTENING STRAP DESIGN) FOR PEDIATRIC AND ADULT PATIENT | SINGLE | 4000 | 0
183 | ENDOTRACHEAL TUBE #2.5 un cuff | SINGLE | 1692 | 0
184 | ENDOTRACHEAL TUBE #3 uncuff | SINGLE | 2993 | 0
185 | ENDOTRACHEAL TUBE #3.5 uncuff | SINGLE | 2136 | 100
186 | ENDOTRACHEAL TUBE UN CUFF #4 INTERNAL DIAMETER | SINGLE | 380 | 100
187 | ENDOTRACHEAL TUBE WITHOUT CUFF #4.5 INTERNAL DIAMETER | SINGLE | 670 | 0
188 | Endotracheal tub oral disp. steril CUFF size 6.5mm: | SINGLE | 1420 | 0
189 | Endotracheal tub oral disp. steril CUFF size :6 mm | SINGLE | 1300 | 0
190 | ENDOTRACHEAL TUBE #7 CUFF | SINGLE | 830 | 0
191 | FEEDING TUB INFANT APPROX40CM SIZE :6 | SINGLE | 21850 | 0
192 | .FEEDING TUB INFANT APPROX 40CM DISP STERIL SIZE :8 | SINGLE | 13816 | 0
193 | (EXTENTION TUBE 85 CM (MALE-FEMALE | SINGLE | 4550 | 0
194 | (EXTENTION TUBE #120CM (MALE-FEMALE | SINGLE | 42483 | 0
195 | ( EXTENTION TUBE #150CM ( MALE - FEMALE | SINGLE | 16183 | 0
196 | NASO GASTRIC TUBE 10 ch | SINGLE | 303 | 0
197 | CORRUGATED DRAINAGE SHEET TUBE | SINGLE | 1030 | 0
198 | T-SHAPED RUBBER TUBE #14 CH | SINGLE | 20 | 0
199 | T- SHAPED RUBBER TUBE #18 CH | SINGLE | 10 | 0
200 | T-SHAPED RUBBER TUBE # 16 | SINGLE | 30 | 0
201 | T-SHAPED RUBBER TUBE #12 CH | SINGLE | 20 | 0
202 | TOURNOQET RUBBER | SINGLE | 1450 | 0
203 | SUCTION CONNECTION 300CM WITH FINGER TIP | SINGLE | 73733 | 0
204 | RECTAL TUBE #22CH | SINGLE | 476 | 0
205 | RECTAL TUBE #28CH | SINGLE | 993 | 0
206 | rectal tube #24 | SINGLE | 1020 | 0
207 | RECTAL TUBE #25-26 | SINGLE | 173 | 0
208 | TRACHESTOMY #SIZE :3M | SINGLE | 21 | 0
209 | TTRACHESTOMYSIZE: #7 M | SINGLE | 54 | 0
210 | TROCHEOSTOMY SIZE 4 | SINGLE | 45 | 0
211 | TROCHEOSTOMY SIZE: 4.5 | SINGLE | 15 | 0
212 | TRACHEOSTOMY TUBE SIZE 7.5 MM NTERNAL DIAMETER WITH CUFF | SINGLE | 168 | 0
213 | .COMPLETE FLEXIBLE BREATHING SYSTEM - TUBING SET LENGTH 1.6 MT WITH WATER TRAPE ADULT | SET | 6943 | 0
214 | DOUBLE LUMEN ETT LEFT # 39 WITH ACCESORIES | SET | 48 | 0
215 | SOLO-CONVENIENCE KIT | KIT | 50 | 0
216 | tourniqets for stoping bleeding(nylon washable for adult | SINGLE | 680 | 120
217 | T PIECE NEBULIZER KIT FOR VENTILATOR 15 M-22M-15F | SINGLE | 8220 | 0
218 | END TIDAL CO2 DETECTOR | SINGLE | 3750 | 0
219 | I.V EXTENTION TUBE 8 CM | SINGLE | 6300 | 0
220 | TRACHEOSTOMY TUBE HOLDER ADULT | SINGLE | 1760 | 0
221 | TRACHEOSTOMY TUBE HOLDER PEDIATRIC | SINGLE | 745 | 0
222 | FEEDING TUBE #12 CH | SINGLE | 1300 | 0
223 | Tub Endotraceal,performed,oral type,w/15mm termination connector,disposable steril, inner diameter size:4mm cuff | SINGLE | 790 | 0
224 | Tub Endotraceal,performed,oral type,w/15mm termination connector,disposable steril, inner diameter size:4.5mm cuff | SINGLE | 943 | 0
225 | Tub Endotraceal,performed,oral type,w/15mm termination connector,disposable steril, inner diameter size :5mm cuff | SINGLE | 516 | 0
226 | Tub Endotraceal,performed,oral type,w/15mm termination connector,disposable steril, inner diameter size :6mm cuff | SINGLE | 133 | 0
227 | ENDOTRACHEAL TUBE #5 WITH CUFFED | SINGLE | 900 | 0
228 | ENDO TRACHEAL TUBE CUFFED #4 | SINGLE | 733 | 0
229 | ENDOTRACHEAL TUBE WITH CUFF #4.5 INTERNAL DIAMETER | SINGLE | 1080 | 0
230 | ENDOTRACHEAL PREFORMED NASAL TRACHEAL TUBE WITH CUFF RAE TYPE # 7.5 INTERNAL DIAMETER | SINGLE | 66 | 0
231 | ENDOTRACHEAL TUBE WITH CUFF#3.5 INTERNAL DIAMETER | SINGLE | 450 | 0
232 | RAY TRACHEAL #7 oral preformd cuff | SINGLE | 10 | 0
233 | STERILENDOTRACHEAL PREFORMED ORAL CUFF 5.5 | SINGLE | 400 | 0
234 | NASOPHARYNGEAL AIR WAY 6MM | SINGLE | 130 | 50
235 | NASOPHARYNGEAKL TUBE 26CH-28CH-30CH | SINGLE | 240 | 0
236 | PENROSE TUBENG 1/2 INCH | SINGLE | 504 | 0
237 | PENROSE TUBING 5/8 INCH | SINGLE | 116 | 0
238 | PENROSE TUBING 1 INCH | SINGLE | 546 | 0
239 | PENROSE TUBING 1/4 INCH | SINGLE | 340 | 0
240 | PENROSE TUBING 5/8 INCH | SINGLE | 17 | 0
241 | penrose #6 | SINGLE | 17 | 0
242 | # ENDOTRACHEAL TUBE WITH CUFF 7SPIRAL INTERNAL DIAMETER | SINGLE | 66 | 0
243 | Tub Endotraceal,performed,nasal type,w/15mm termination connector,disposable steril, inner diameter size:4.5mm cuff | SINGLE | 320 | 0
244 | TRACHEAL TUBE WITH CUFF REA TYPE SIZE 5-5.5 INTERNAL DIAMETER PERFORMED | SINGLE | 830 | 0
245 | BAG BRRATHING .5 LITTER | SINGLE | 30 | 0
246 | BAG BREATHING 3 LITTER | SINGLE | 40 | 0
247 | OXYGEN CONNECTION TUBE | SINGLE | 17500 | 70
248 | TUBE SHARPED , EAR VENTILATION (GROMMET) | SINGLE | 396 | 0
249 | COMPLATE FLEIBLE BREATHING SYSTEM TUBING SET ADULT WITH OUT WATER TRAP | SET | 66 | 0
250 | ENDOTRACHEAL TUBE UNCUFF#5 INTERNAL DIAMETER | SINGLE | 500 | 0
251 | ENDOTRACHEAL TUBE UNCUFF #5.5 INTERNAL DIAMETER | SINGLE | 876 | 0
252 | TRACHOSTOMY TUBE SIZE 9 MM NTERNAL DIAMETER WITH CUFF | SINGLE | 16 | 0
253 | TRACHOSTOMY TUBE SIZE 8.5 MM NTERNAL DIAMETER WITH CUFF | SINGLE | 90 | 0
254 | ENDOTRACHEL L TUBE WITH CUFF #8 INTERNAL DIAMETER | SINGLE | 130 | 0
255 | NEBULIZER COMPELET ( AEROSOL THEARAPY KIT ADULT WITH MASK | SET | 17030 | 8500
256 | Tub Endotraceal,performed,oral type,w/15mm termination connector,disposable steril, inner diameter size:3.5mm cuff | SINGLE | 353 | 0
257 | LARYNGEAL MASK #2 | SINGLE | 116 | 150
258 | TRACHESTOMY SIZE: 3.5M | SINGLE | 20 | 0
259 | TRACHESTOMY SIZE ::5.5 M | SINGLE | 13 | 0
260 | TRACHESTOMY SIZE :6 M | SINGLE | 58 | 0
261 | TRACHESTOMY SIZE :6.5 MTRACHESTOMY | SINGLE | 46 | 0
262 | CLAVE CONNECTOR | SINGLE | 7 | 0
263 | ENDOTRACHEAL SPIRAL TUBE CUFFED #4 STERIL | SINGLE | 150 | 0
264 | ENDOTRACHEAL SPIRAL TUBE CUFFED #4.5 STERIL | SINGLE | 150 | 0
265 | ENDOTRACHEAL SPIRAL TUBE CUFFED # 5 STERIL | SINGLE | 150 | 0
266 | ENDOTRACHEAL SPIRAL TUBE CUFFED # 6.5 STERIL | SINGLE | 150 | 0
267 | ENDOTRACHEAL SPIRAL TUBE CUFFED #7.5 STERIL | SINGLE | 66 | 0
268 | ENDOTRACHEAL SPIRAL TUBE CUFFED #8.5STERIL | SINGLE | 66 | 0
269 | ENDOTRACHEAL TUBE WITH SUCTION 6 steril | SINGLE | 50 | 0
270 | ENDOTRACHEAL TUBE WITH SUCTION 7 steril | SINGLE | 100 | 0
271 | ENDOTRACHEAL TUBE WITH SUCTION 7.5 steril | SINGLE | 50 | 0
272 | ENDOTRACHEAL TUBE WITH SUCTION 3 steril | SINGLE | 70 | 0
273 | ENDOTRACHEAL TUBE WITH SUCTION 3.5 steril | SINGLE | 80 | 0
274 | ENDOTRACHEAL TUBE WITH SUCTION 4 steril | SINGLE | 130 | 0
275 | ENDOTRACHEAL TUBE WITH SUCTION 4.5 | SINGLE | 40 | 0
276 | ENDOTRACHEAL TUBE WITH SUCTION 5 | SINGLE | 20 | 0
277 | ENDOTRACHEAL TUBE WITH SUCTION 5.5 | SINGLE | 10 | 0
278 | BREATHING CIRCUIT CONNECTOR AND WATER TRAP ADULT DUAL HEATER WIRE BREATHING CIRCUIT | KIT | 3140 | 0
279 | DOUBLE LUMEN ETT LEFT #37 WITH ACCESSORIES | SET | 18 | 0
280 | / GAUSE 7.5*7.5 CM STERILE15- 17 THREAD SQ .CM 8 PLY PACK/4 | PACK | 2500000 | 0
281 | GAUSE 7.5*7.5 CM NONSTERILE15- 17 THREAD SQ .CM 8 PLY PACK/4 | PACK | 0 | 20000
282 | GAUZE 10X10cm 17 THREAD /SQ.CM 12 PLY (W X-RAY STERILE DOUBLE BAG (10/PACK | PACK | 30666 | 0
283 | GAUSE EYE BAD | SINGLE | 4500 | 1500
284 | GAUSE COTTON PAD 10X20 | SINGLE | 489900 | 0
285 | , GAUZE METER WIDTH 90CM *100CM LONG (THREAD /SQ.CM ( FOLDED TYPE 17 | MT | 146166 | 0
286 | GAUZE BANDAGE 5 CM *2.7 MT,17 THREAD/SQ CM (SINGLE NAYLON PACK FOR (EACH ROLL | ROLL | 8950 | 12000
287 | ROLL BANDAGE 3 inch *4.5 mt | ROLL | 3000 | 0
288 | GAUSE 10*10 CM 12 PLY, 17 THREAD SQ - CM (PACK/100) nonsteril | PACK | 153898 | 40000
289 | adhesive plaster zinc oxde 7.5 cm * 5 mt | ROLL | 60477 | 0
290 | Leucoplast adhesive plaster 10 cm * 5 mt | ROLL | 553 | 4000
291 | MICROPORE 2.5 CM | ROLL | 64860 | 3000
292 | MICROPORE 5 CM | ROLL | 21013 | 3000
293 | leukoplast 2.5CM*4.5m | ROLL | 1201 | 2000
294 | Transparent dressing used to secure amultitude of items to skin steril water proof size 45*45 | SINGLE | 1200 | 0
295 | DRESSING TRANSPERANT DRESSING FILM5*5CM TEGADERM | SINGLE | 2000 | 0
296 | cotton webril bandage 10 cm width 2.7 mt length | ROLL | 31226 | 0
297 | . COTTON WEBRIL BANDAGE 15 CM WIDTH MT LENGH 2.7 | ROLL | 51613 | 0
298 | LAPRATOMY SPONGE 30 X30 W/XRAY detectable line 5/pack(17 thread ) sterile double bag (pack/5) | PACK | 3966 | 0
299 | LAPROTOMY SPONGE 45*45 WITH X-RAY DETECTABLE 17 thread LINE5/PACK STERILE DOUBLE BAG | PACK | 28500 | 0
300 | FRAMYCETIN SULPHATE 1% GAUZE (DRESSING 10/PACK(BOX/36 | BOX | 1 | 0
301 | SORATOL GUASE STERIL BOX OF 10 PCS(10CM*10CM) | BOX | 5353 | 0
302 | PLASTER OF PARIS 30 CM | DZ | 270 | 0
303 | ELASTIC BANDAGE 7.5 CM * 4.5 mt | ROLL | 46210 | 15000
304 | ELASTIC CREPE BANDGE 10CM WIDTH ,4.5MT LENGTH-HIGH TENSILE STRENGTH-OVER LOCKED EDGES-2 TO 3 FIXATION CLIPS | ROLL | 202850 | 12000
305 | BEANUT GAUSE BALL LARGE | SINGLE | 210 | 0
306 | Cotton Medical Absorbent , net weight 100gm.(ZIC ZAC)Packing: Individually in Plastic | KG | 2074 | 0
307 | first aid plaster | BOX | 3630 | 150
308 | EYE PAD ADHESIVE STEILE | PKG | 16266 | 0
309 | COMFEEL PLUS ULCER DRISSING #10*10CM | SINGLE | 1000 | 0
310 | COMFEEL PLUS ULCER DRISSING #20*20CM | SINGLE | 900 | 0
311 | Adhesive removal prep | SINGLE | 8500 | 0
312 | LEUCOPLAST PLASTER 5CM*4.5M | ROLL | 16953 | 0
313 | (Surgical Glue internal (synthitic skin adheseve bioglu 5mml | SINGLE | 35 | 0
314 | SURGICAL GLUE EXTERNAL | SINGLE | 748 | 150
315 | dressing hemocon dot strip | single | 10000 | 0
316 | DURA PORE TAPE ADULT AND PEDIATRIC (SILK LIKE TAPE 2.5/9M | ROLL | 18570 | 0
317 | gore duel mesh | SINGLE | 10 | 0
318 | Electrode E.C.G. for adult ,pre-jelled, disposable .packed in Aluminium foil | SINGLE | 450000 | 1000
319 | ,Electrode E.C.G. for children ,pre-jelled .disposable packed in Aluminium foil | SINGLE | 20300 | 150
320 | PAPER RECORDING CHART FOR TRADEMIL 9402-021 | SINGLE | 1242 | 0
321 | PAPER D-C SHOCK FQS 50-3-100 | ROLL | 1013 | 0
322 | PAPER ECG 3 CHANEL 12CM | SINGLE | 100 | 0
323 | PAPER RECORDING CHART FOR SONICAID 8400-8003 | SINGLE | 1400 | 0
324 | ECG PAPER 4.25INCH*5.5INCH MORATARO | BOOK | 186 | 0
325 | PAPER FORDELTA PLUS DELTA 612 | SINGLE | 194 | 0
326 | PAPER ECG FOR CARDIOLINE | BOX | 500 | 0
327 | PEPER ECG FOR CARDIOFAX | BOX | 2 | 0
328 | CARDIOLINE 3 PLUS 10CM*11CM | BOX | 500 | 0
329 | MITSUBISI VIDEO PRINTER K65HM | ROLL | 50 | 0
330 | PAPER RICORDING CHART FQ S150-27-90 ITEM#328 | SINGLE | 148 | 0
331 | ELEFIX 400GM EEG PASTE ELEFEX OR ALIKE | JAR | 52 | 0
332 | PAPER RECORDING ECG (50MM*30MT(1CHANAL | ROLL | 2243 | 0
333 | PAPER SCHELLER 2.157.017D/C SHOCK | BOX | 100 | 0
334 | CTG FM800 ENCORE SONICAID | BOX | 300 | 0
335 | DISPOSAPLE ELECTRO SURGICAL PATIENT RETURN ELECTRO PLATE WITH CORD | SINGLE | 2000 | 0
336 | NIHON KOHDENCARDIOFAX GEM ECA -902 FQW 110-2-140 | BOX | 100 | 0
337 | E.C.G ELECTRODE CLAMPS | SINGLE | 576 | 160
338 | E.C.G PUMP | SINGLE | 0 | 160
339 | ECG PAPER 210MM*295MM FOR CARDIO EXPRESS SL12 | BOOK | 250 | 0
340 | ECG CLAMP FOR INFANT | SINGLE | 790 | 0
341 | CARDOLINE 2100*660110042 PAPER FOR AR2100 | BOOK | 800 | 0
342 | recording chart paper for innomed 112*150mm*250 | BOOK | 120 | 0
343 | ECG PAPER CARDIOLINE 66010052 | BOOK | 1000 | 0
344 | ECG PAPER 3 CHANAL خاص بجهاز CONTEC ELECTROCARDIOGRAPH MODEL 33221/ECG 300 | single | 550 | 0
345 | PAPER ECG خاص بجهاز TC20 CARDIOGRAPH/PHILIPS | single | 200 | 0
346 | ECG ELECTRODE FOR NEONATE | SINGLE | 14060 | 0
347 | AIRWAY GUEDAL PVC #00 | SINGLE | 1510 | 0
348 | AIRWAY GUEDAL PVC #0 | SINGLE | 1413 | 0
349 | AIRWAY GUEDAL PVC #1 | SINGLE | 1113 | 200
350 | AIRWAY GUEDAL PVC #2 | SINGLE | 1203 | 200
351 | AIRWAY GUEDAL PVC #3 | SINGLE | 576 | 200
352 | AIRWAY GUEDAL PVC #4 | SINGLE | 1190 | 200
353 | AIR WAY GUEDAL #5 | SINGLE | 350 | 200
354 | INFUSION ADMINISTRATION SET WITH AIR VENT AND INJECTION PORT , CHAMBER WITH FILTER SIZE 15-20 ML | SET | 39833 | 40000
355 | EPIDURAL ANESTHESIA SET CONTINUOUS GAGE 18 TOHI NEEDLE | SET | 1312 | 0
356 | DRAINGE SYSTEM - UNDER WATER CHEST DRAINGE BOTTLE, STERILE 1500CC-1800CC | SET | 1884 | 0
357 | EXCHANGE TRANSFUSION TRAY SET | SET | 82 | 0
358 | SUPRAPUBIC CATH. SET COMPLETE SET ,CONSISTING OF CATHETER DIALATROR&INTRDUCER # 16 FR | SET | 50 | 0
359 | URINE BAG FOR ADULT 2000 ml with valve | SINGLE | 144620 | 500
360 | URINE BAG FOR INFANT 100ML | SINGLE | 62733 | 0
LOT 1: (361+362+363)
361 | COLOSTOMY STOMAHESIVE FLANGE #45-50 MM | SINGLE | 48220 | 0
362 | COLOSTOMY DRAINABLE POUCH #45-50 MM | SINGLE | 66350 | 0
363 | UROSTOMY POUCH #45-50 MM | SINGLE | 30090 | 0
LOT 2: (364+365+366)
364 | COLOSTOMY STOMAHESIVE FLANGE #60MM | SINGLE | 72560 | 4100
365 | COLOSTOMY DRAINABLE POUCH #60MM | SINGLE | 119850 | 7600
366 | UROSTOMY DRAINABLE POUCH # 57 MM STANDAR'S | SINGLE | 25270 | 0
LOT 3:(367+368)
367 | COLOSTOMY STOMAHESIVE FLANGE #70 -80 MM | SINGLE | 59500 | 0
368 | COLOSTOMY DRAINABLE POUCH #70 -80 MM | SINGLE | 119000 | 0
369 | URNE LEG BAG WTH OUTLET VALVE &BELT CAPACTY 750ML TUBE LENGHTH 10CM | SINGLE | 100 | 0
370 | Stopcock 3-Ways Transparent Luer Lock with Two Female and One Male, Disposable, Sterile | SINGLE | 34000 | 50
371 | URINE METER 500 CC WITH BOTTOM OUTLET | SINGLE | 8916 | 0
372 | ORAL MEDECIAL THERMOMETER MERCURRIAL TYPE, DEGREE, CETRIGRADE+(C) WITH COVER | SINGLE | 11607 | 200
373 | ( UMBILICAL cord CLAMPS ( pack/100 | SINGLE | 49866 | 0
374 | Tap autoclave roll | ROLL | 2965 | 0
375 | TONGUE DEPRESSOR SPATULA WOODEN ADULT | SINGLE | 1554666 | 500000
376 | Shunt Ventriculoperitoneal Cerebrospinal Fluid Flow Control Valve, Contoured Small, integratred reservoir, Medium Pressu بحيث تكون كل قطعة مغلفة بشكل منفصل | KIT | 7 | 0
377 | Shunt Ventriculoperitoneal Cerebrospinal Fluid Flow Control Valve, Contoured regular, integratred reservoir, low Pressu بحيث تكون كل قطعة مغلفة بشكل منفصل | KIT | 13 | 0
378 | Shunt Ventriculoperitoneal Cerebrospinal Fluid Flow Control Valve, Contoured regular, integratred reservoir, high Pressu بحيث تكون كل قطعة مغلفة بشكل منفصل | KIT | 8 | 0
379 | Shunt Ventriculoperitoneal Cerebrospinal Fluid ,Flow Control Valve, Contoured Regular integratred reservoir, Medium Pr | KIT | 2 | 0
380 | SPIROMETER | SINGLE | 710 | 0
381 | DOUBLE J URTHRIC CATHETER STENT OPEN END URTRAL SIZE 6FR*28 (COMPLET (SET | SET | 740 | 0
382 | DOUBLE J URITHRIC CATH STENTOPEN END ( URTRAL SIZE 4.8FR*26 (COMPLET SET | SET | 106 | 0
383 | URETER DJ STENT 7FR*26CM | SINGLE | 20 | 0
384 | FINGER TIP CONECTION | SINGLE | 9000 | 200
385 | disposable NIBP cuff neonate 6-11cm size 2 box/10 | BOX | 413 | 0
386 | disposable NIBP CUFF neonate 7-13cm size 3 box/10 | BOX | 250 | 0
387 | ,HEMOVAC / CORRIGATED DRAING SET 14 CC (CLOSING WOUND SUCTION 400-16,400 (UNIT SET | SINGLE | 4420 | 0
388 | BACTERIA FILTER(SINGLE USE )(FILTA GUARD BREATHING FILTER 22F/22M/15F/1944 | SINGLE | 7446 | 0
389 | SERVO HUMIDIFIRE FILTER | SINGLE | 3483 | 0
390 | IV flow regulator gravity type,on/of mode adiustment knob scale range from 2ml to350ml y-portinjection mail &femal luer | SINGLE | 75100 | 0
391 | VEIN STRIPPER DISPOSABLE (100CM (CABLE,4 OLIVES , 6.9,12.15 CM ONE HANDLE | SINGLE | 200 | 0
392 | NASAL TAMPON 8 CM STRIL BOX/20 | BOX | 3 | 0
393 | ORAL MEDECIAL THERMOMETER DIGITAL MERCURRIAL TYPE, DEGREE, CETRIGRADE+(C) WITH COVER | SINGLE | 34563 | 0
394 | SUPRAPUBIC CATH. SET COMPLETE SET ,CONSISTING OF CATHETER DIALATROR&INTRDUCER #10FR | SINGLE | 14 | 0
395 | DOUBLE J URTHRIC CATHETER STENT OPEN (END URTRAL SIZE 6FR*30 (COMPLET SET | SET | 200 | 0
396 | DOUBLE J URTHRIC CATHETER STENT OPEN (END URTRAL SIZE4FR*18 (COMPLET SET | SINGLE | 16 | 0
397 | DOUBLE J URTHRIC CATHETER STENT OPEN (END URTRAL SIZE4FR*16(COMPLET SET | SINGLE | 10 | 0
398 | DOUBLE J URTHRIC CATHETER STENT OPEN (END URTRAL SIZE4FR*14(COMPLET SET | SINGLE | 16 | 0
399 | DOUBLE J URTHRIC CATHETER STENT OPEN (END URTRAL SIZE3FR*16 (COMPLET SET | SINGLE | 20 | 0
400 | DOUBLE J URTHRIC CATHETER STENT OPEN (END URTRAL SIZE 3FR*14 (COMPLET SET | SINGLE | 16 | 0
401 | DOUBLE J URTHRIC CATHETER STENT OPEN END URTRAL SIZE3FR*12 (COMPLET (SET | SINGLE | 10 | 0
402 | DOUBLE J URTHRIC CATHETER STENT OPEN (END URTRAL SIZE 6FR*26 (COMPLET SET | SET | 133 | 0
403 | GUID WIRE HYDROPHILIC 150CM | SINGLE | 40 | 0
404 | Thorametrix chest drange system high capacity 2300ml | SINGLE | 166 | 0
405 | RISORVER BAG FOR CLOSED SYSTEM SUCTION WITH | SINGLE | 25733 | 0
406 | disposable NIBP cuff neonate 4-8cm single use size 1 box/10 | BOX | 5 | 0
407 | (ﻚﻟﺎﺴﻣ)GUID WIER EXTRA STIFF | SINGLE | 84 | 0
408 | ,HEMOVAC / CORRIGATED DRAING SET 16 CC (CLOSING WOUND SUCTION UNIT 400 SET)double back | SINGLE | 2520 | 0
409 | CUP VACUM SILICON SIZE 4.5.6 | SINGLE | 53 | 0
410 | CUFF PRESSURE NEONATE FOR GE MONITOR (0-5) | single | 1200 | 0
411 | ,Needle Luer Lock, Size: G21 x 1.5, Disposable ,Sterile Packing: Individually Wrapped 100Pieces/Pack | TH | 913 | 0
412 | ,"Needle Luer Lock, Size: G25 x 0.5"-1 Disposable, SterilePacking: Individually Wrapped, 100Pieces/Pack | TH | 56 | 0
413 | "Needle Luer Lock, Size: G22 1.5 inch . Disposable, Sterile Pack: Individually Wrapped, 100 Pices / Pack | TH | 604 | 0
414 | NEEDLE #20 G | TH | 230 | 250
415 | NEEDEL # 18 G | TH | 893 | 250
416 | BIOBSY NEEDLE MONOPTY 14*10*22MM 121410AMI | SINGLE | 20 | 0
417 | NEEDLE SPINAL #22 GV *90MM QUIK POINT | SINGLE | 400 | 0
418 | NEEDLE SPINAL #25 G*90MM QUIK POINT | SINGLE | 6616 | 0
419 | TRU CUT BIOPSY NEEDLE#16G 160MM | SINGLE | 25 | 0
420 | TRU CUT BIOPSY NEEDLE#18G 160 MM | SINGLE | 1 | 0
421 | TRUCUT BIOBSY NEEDLE #14 | SINGLE | 150 | 0
422 | SPAINAL NEEDLA #26G*90MM QUIK POINT | SINGLE | 3750 | 0
423 | HUBBER NEEDLE 20 G | SET | 260 | 0
424 | intraosseous device (powerd drive reusable | SINGLE | 249 | 0
425 | intraosseous needle different sizes(disposable each kit include:1needle/1stabilizer/1needle length 15mm.25mm.45mm | SINGLE | 928 | 0
426 | ,Gloves surgical powderd, hypo-allergic,peel pack disposable,steril.size6.5 packing 50pairs/packet | PAIR | 24333 | 0
427 | ,Gloves surgical powderd, hypo-allergic,peel pack disposable,steril.size 7 packing 50pairs/packet | PAIR | 187000 | 0
428 | ,Gloves surgical powderd, hypo-allergic,peel pack disposable,steril.size7.5 packing 50pairs/packet | PAIR | 58433 | 0
429 | ,Gloves surgical powderd, hypo-allergic,peel pack disposable,steril.size 8 packing 50pairs/packet | PAIR | 274933 | 0
430 | ,Gloves surgical powderd, hypo-allergic,peel pack disposable,steril.size 8.5 packing 50pairs/packet | PAIR | 14233 | 0
431 | G loves for chimotherapy all size | SINGLE | 45333 | 0
432 | GLOVE LATEX NON STERILE DISPOSABLE | SINGLE | 5618133 | 600000
433 | GLOVE LATEX POWDERED FREE DIFF. SIZE NONSTERILE | SINGLE | 1618000 | 0
434 | GLOVE POLYSAN NYLON large SIZE | TH | 30960 | 0
435 | GLOVE POLYSAN NYLON STERIL POLYTAGE | SINGLE | 14060 | 0
436 | ,Gloves Surgical Powder-Free, Hypo-Allergenic ,Peel Pack, Disposable, Sterile, Size: 7 Individually Wrapped in Inner Pa | PAIR | 47400 | 0
437 | GLOVESLATEX SURGICAL STERILE POWDER FREE#8 | PAIR | 27966 | 0
438 | GLOVESLATEX SURGICAL STERILE POWDER FREE#7.5 | PAIR | 31166 | 0
439 | syringe 1cc for insuline with needle 27-29G without dead space one piece needle must be (sealed to the syringe | SINGLE | 539400 | 0
440 | SYRING 2 -3 ML DISPOSABLE WITHOUT NEEDLE 3 PARTS | SINGLE | 982233 | 200000
441 | SYRINGE 5ML DISPOSABLE WITH OUT NEEDLE 3 PARTS | SINGLE | 2005000 | 300000
442 | SYRING 10 ML DISPOSABLE WITHOUT NEEDLE 3 PART AND SUITABLE FOR ELECTRIC SYRING PUMP | SINGLE | 275533 | 25000
443 | syring 20 of disposable with out needle 3 parts suittablw for electric syring pump@ | SINGLE | 34700 | 5000
444 | syring 50-60MLfor feeding<irrigation with out needle disp. sterril | SINGLE | 27133 | 0
445 | DISP SYRINGE 2-3CC LEURLOCK | SINGLE | 106000 | 0
446 | DISP SYRINGE 5CC LEURLOCK | SINGLE | 139866 | 0
447 | DISP SYRINGE 10CC LEURLOCK | SINGLE | 34733 | 0
448 | DISP SYRINGE 20CC LEURLOCK | SINGLE | 140333 | 0
449 | DISP SYRINGE 50CC LEURLOCK | SINGLE | 22933 | 0
450 | DISPOSABLE SYRINGES 30ML LEUTLOCK | SINGLE | 57233 | 0
451 | SYRINGES 200ML DUAL SYRINGES 60T CONNECTOR AND PRIME TUBE DUAL CHECK VALVE | SET | 2050 | 0
452 | SYRINGE 200ML SET FOR NEMOTO DUAL SHOT CT INJECTOR 2 SYRINGE 200 ML +2 REFILE LINE + EXTENTION TUBE | KIT | 1800 | 0
453 | Blade stainless steel disp. steril size :10 box/100 | BOX | 572 | 25
454 | Blade stainless steel disp. steril size :11 box/100 | BOX | 562 | 25
455 | Blade stainless steel disp. steril size :12 box/100 | BOX | 283 | 25
456 | Blade stainless steel disp. steril size :15 box/100 | BOX | 373 | 25
457 | Blade stainless steel disp. steril size :20 box/100 | BOX | 220 | 25
458 | Blade stainless steel disp. steril size :21 box/100 | BOX | 176 | 25
459 | Blade stainless steel disp. steril size :23 box/100 | BOX | 474 | 25
460 | BLADE KNIFE SKIN GRAFT HG-215-01-Q STERILE) PACK/10) | PACK | 2 | 0
461 | ( DERMATON SKIN BLADE (TYPE ZIMMER | SINGLE | 50 | 0
462 | CARBON STEEL SURGICAL BLADE 15 SWAN MORTON | DZ | 20 | 0
463 | SHARP BOX 5 LITTER | SINGLE | 19120 | 1500
464 | SHARP CONTAINER 10 LITERS | SINGLE | 70126 | 0
465 | 90*60 اكياس للنفايات الطبية | SINGLE | 24193 | 0
466 | . Sharp box plastic one liter green color | BOX | 13733 | 0
467 | SELSEAL STERLIZTION POUCH 190/330MM | SINGLE | 47666 | 0
468 | - Y-TYPE TUR /BLADDER IRRIGATION SET 2.1M LONG,CAT .NO. 2C4041(REGULATING (CLAMP | SINGLE | 2840 | 0
469 | NICK COALER HARD | SINGLE | 406 | 0
470 | EXTENSION SET WITH MICROLINE | SINGLE | 3783 | 0
471 | NYLON BAG 44 | ROLL | 1994 | 0
472 | NICK COALER SOFT | SINGLE | 1050 | 100
473 | filter for infliximab | pcs | 4800 | 0
474 | ) MEMBRANE FOR EXPIRATORY VALVE (SPARE PART FOR ADULT VENTILATOR RAFAL MODEL, MANUFACTURER: HAMELTON | BOX | 200 | 0
475 | BACTERIAL FILTER HME ( SPARE PART FOR (ADULT VENTILATOR | KIT | 23800 | 0
476 | TRANSPARENT DRESSING PLASTER FOR CANULA 6 cm * 7 cm | SINGLE | 30500 | 0
477 | DISPOSABLE KIDNE BAYSINS | SINGLE | 153333 | 0
478 | DISPOSABLE URINALS BLASTIC | SINGLE | 34433 | 0
479 | PRECUTANEOS NEPHROSTOMY #12 CH | SINGLE | 50 | 0
480 | surgical scrub brush | SINGLE | 3400 | 0
481 | LASER FIBERS(REUSABLE) FOR QUANTA SYSTEM (LITHO)200UM | SINGLE | 30 | 0
482 | LASER FIBERS(REUSABLE) FOR QUANTA SYSTEM (LITHO)340UM | SINGLE | 30 | 0
483 | LASER FIBERS(REUSABLE) FOR QUANTA SYSTEM (LITHO)600UM | SINGLE | 30 | 0
484 | Tegaderm for CVP Chlorhexidine gluconate .10cm*12 with anti microbial or Alike | SINGLE | 29300 | 0
485 | .COMPLETE FLEXIBLE BREATHING SYS TUBING SET LENGTH 1.6MT WITH WATER (TRAP (CHILDREN | SET | 26406 | 0
486 | NIPPLE AND NUT | SINGLE | 197 | 0
487 | AMBU BAG FOR INFANT 120-180 CM | SINGLE | 289 | 0
488 | OXYGEN MASK PEDIATRIC WITH CONNECTION TUBE | SINGLE | 27780 | 1000
489 | ( ABBU BAG FOR ADULT )COMPLETE KIT | KIT | 3210 | 20
490 | ( ABBU BAG FOR CHILDREN )COMPLETE KIT | KIT | 717 | 20
491 | ( ABBU BAG FOR NEUNATE )COMPLETE KIT | KIT | 2084 | 0
492 | urinal disposable carton for chemotherapy | SINGLE | 3600 | 0
493 | bedpan disposable carton for chemotherapy | SINGLE | 24200 | 0
494 | PERCUTANEOS NEPHROSTOMY SET 14 CH | SINGLE | 20 | 0
495 | BRACLATE FOR ADULT | SINGLE | 246833 | 0
496 | BRACELET FOR INFANT | SINGLE | 197966 | 0
497 | Tegaderm for C.V.P pharmapore pv iv frame (style 8.5*11.5 cm (3M) with chlorohexadin (3M OR Alike | SINGLE | 25033 | 0
498 | PRECUTANEOS NEPHROSTOMY SET 8 CH | SINGLE | 80 | 0
499 | PORTA CAT GRIEP NON CORINNG NEEDLE FOR PEDIATRIC G 22 , NEEDLE LENGTH 19MM 3/4 INCH , SHARP NEEDLE | SINGLE | 20 | 0
500 | SELFESEAL STERILE POUCH 305*430 | SINGLE | 127033 | 0
501 | SELFESEAL POUCH 135*260 | SINGLE | 64583 | 0
502 | SELFESEAL STERIL POUCH 135*380 | SINGLE | 98433 | 0
503 | OXTGEN CANULA PED | SINGLE | 32033 | 1500
504 | OXYGEN NASAL CANULA ADULT | SINGLE | 61000 | 1500
505 | OXYGEN NASAL CANULA NEONATAL | SINGLE | 30466 | 0
506 | SELFESEAL STERILE POUCH 90*260 | SINGLE | 74633 | 0
507 | SELFESEAL STERILE POUCH 90*550 | SINGLE | 6200 | 0
508 | SELFESEAL STERILE POUCH 190*360 | SINGLE | 82986 | 0
509 | CIRCULAR STAPLER 33H | SINGLE | 136 | 0
510 | CIRCULAR STAPLER 31-31.5 | SINGLE | 152 | 0
511 | CIRCULAR STAPLER 28-28.5 | SINGLE | 105 | 0
512 | CHEMICAL INDICATOR SHEET | SINGLE | 72204 | 0
513 | BIOLOGICAL INDICATORS STEEM B M | SINGLE | 10113 | 0
514 | GAS BIOLOGICAL INDICATORS | SINGLE | 4500 | 0
515 | BOWEDIICK INDICATOR | SINGLE | 4233 | 0
516 | TEGADERM 10*10 CM or Alike | SINGLE | 1500 | 0
517 | thorathensis and parathensis system | kit | 400 | 0
518 | oral mouth care kit for sage | single | 1850 | 0
519 | TEGADERM WITH CHLORHEXIDINE(WATERPROOF .STERIL PROTECT THE IV .SITE FROM EXTERNAL CONTAMINAT6CM *7CM TRANSPARENT FILM DRESSING FRAME STYLE or Alike | SINGLE | 32700 | 0
520 | 3M TEGADERM I.V (PEDIATRIC) ADVANCED SECUREMENT DRESSING WITH COMFORT ADHESIVE TECHNOLOGY 5*5.7 CM or Alike | SINGLE | 27800 | 0
521 | SMALL BIOHAZARD BAG FOR SPECIMEN متعدد الاحجام )PRINTED.ZIP CLOSURE .LEAK RESISTANT .POLYETHYLENE | SINGLE | 85400 | 0
522 | O2 NAZAL CANULA PREMATURE | SINGLE | 7000 | 0
523 | O2 NAZAL CANULA NEONATE SIZE | SINGLE | 9550 | 0
524 | NAZAL CANULA PRONGED SIZE FOR NEONATE XC | SINGLE | 2520 | 0
525 | naylon bag # 40 | ROLL | 110 | 0
526 | Sterilization Roll,Nylon bag (42) Size: 15 cm x .m 200 | ROLL | 239 | 0
527 | indecator strip for steem 250/ box | BOX | 346 | 0
528 | STERIZATION POUCH 90/230 | SINGLE | 61900 | 0
529 | STERIZATION POUCH 133/254 | SINGLE | 67600 | 0
530 | SELFESEAL STERILIZATION POUCH 133/360 MM | SINGLE | 15266 | 0
531 | BONE CEMENT RADIO -OPAQ | KIT | 1316 | 0
532 | Surgical patties 1/2*1/2 pack/10 | PACK | 1030 | 0
533 | Surgical patties 1/2*1.5 1/2*2 pack/10 | PACK | 1200 | 0
534 | Surgical patties 1/2*1 pack/10 | PACK | 600 | 0
535 | Surgical patties 1*3 pack/10 | PACK | 1100 | 0
536 | SURGICAL PATTIES 1*6 INCH STERILE, X-RAY ( DETECTABLE 200/PACK | PACK | 10 | 0
537 | surgical patties 1*1 inch sterilr x-ray detectable (patties/pack cat.no 80-1403 (BOX/ 20 10 | BOX | 500 | 0
538 | ANATOMICAL FACE MASK #2 | SINGLE | 4103 | 0
539 | ANATOMICAL FACE MASK SIZE 3 | SINGLE | 3366 | 0
540 | ANATOMICAL FACE MASK SIZE 4 | SINGLE | 4193 | 0
541 | ANATOMICAL FACWE MASK SIZE 5 | SINGLE | 3350 | 0
542 | ANATOMICAL FACE MASK 6 | SINGLE | 3650 | 0
543 | FULL FACEMASK CPAP ADULT (SMALL/MEDIUM/LARG) | SINGLE | 3650 | 0
544 | INFANT FLOW LP GENERATOR & CIRCUIT KIT WITH PRONGE NEONATAL SINGLE BOX/20 | BOX | 124 | 0
545 | INFANT FLOW LP NASAL MASK SINGLE PATIANT USE LARGEL BOX/10 | BOX | 104 | 0
546 | criticare neonatal foam adhisive sensors BOX/24 | BOX | 50 | 0
547 | INFANT FLOW LP BONNET SINGLE PATIANT USE SIZE 0 PINK 22-24CM BOX/10 | BOX | 24 | 0
548 | INFANT FLOW LP BONNET SINGLE PATIANT USE SIZE 2 YELLOW 26-28CM BOX/10 | BOX | 1 | 0
549 | INFANT FLOW LP BONNET SINGLE PATIANT USE SIZE 3LT BLUE 28-30CM BOX/10 | BOX | 180 | 0
550 | SPO2 NEONATAL ADHESIVE SENSOR DRAGER) 0) | SINGLE | 1000 | 0
551 | NON REBREATHER MASK | SINGLE | 2066 | 0
552 | BREATHING CIRCUATE NEONATAL WITH HUMIDITY | SINGLE | 2100 | 0
553 | ANATOMICAL FACE MASK #0 | SINGLE | 2570 | 0
554 | ANATOMICAL FACE MASK #1 | SINGLE | 2836 | 0
555 | Mouthpice plastic disposable 25pc/pk | PACK | 6110 | 0
556 | NOSE CLIP DISP. PACK/10 (فحص الرئة ) | PACK | 250 | 0
557 | Precision flow patient circute .high flow for adult pediatric BOX/5 | BOX | 40 | 0
558 | INFANT FLOW LP NASAL MASK SINGLE PATIANT USE (X- SMALL) BOX/10 | BOX | 8 | 0
559 | VAPOTHERM NAZAL CANULA HIGH FLOW BLACK)ADULT) | SINGLE | 343 | 0
560 | NASAL CANNULA NEONATE NIHON KO DEN | SINGLE | 1200 | 0
561 | ( BREATHING CIRCUIT (NEW PORT PORTABLE VENTILATOR | SINGLE | 2300 | 0
562 | airovo spral tibe chmb kit compatible with opt316pack/109 | SINGLE | 256 | 0
563 | OPTIFLOW NASAL CANNULA FOR ADULT AIRVO MEDIUM) PACK/20 | PACK | 48 | 0
564 | CO2 TUBE SET DISPOSABLE | single | 100 | 0
565 | neonate bubble cpap for fanem | SINGLE | 500 | 0
566 | (فحص الرئة) ELBOW PIPE ,45 REUSABLE | SINGLE | 200 | 0
567 | PHOTOTHERAPY EYE PROTECTOR NEW SHADES WITH HEADSTRAP SMALL BOX/50 | BOX | 7 | 0
568 | PHOTOTHERAPY EYE PROTECTOR LARGE NEW SHADES WITH HEADSTRAP BOX/50 | BOX | 260 | 0
569 | NASAL CANNULA OPTIFLOW PEDIATRIC FOR NIHON KODEN NKV -550 VENTILATOR | SINGLE | 500 | 0
570 | NASAL CANNULA OPTIFLOW INFANTL FOR NIHON KODEN NKV -550 VENTILATOR | SINGLE | 900 | 0
571 | nasal canula optiflow prematurefor nihon koden nkv -550 vent. | SINGLE | 1000 | 0
572 | optiflow nasal canula for adult size large | SINGLE | 500 | 0
573 | optiflow nasal canula for adult size small | SINGLE | 500 | 0
574 | disp.humidification chamber size 22mm with autofeed chamber for infant flow sipap | SINGLE | 500 | 0
575 | NEONATAL PULSE OXIMETER ADHESIVE SENSOR (MASIMO) | single | 1200 | 0
576 | SPO2 DISPOSABLE SENSOR FOR NEONATE(DISPOSABLE OXIMAX SPO2 SENSOR FOR G.E MONITOR) | SINGLE | 4510 | 0
577 | SPO2 DISPOSABLE SENSOR FOR NEONATE (DISPOSABLE OXIMAX SPO2 SENSOR FOR NIHON KOHDEN MONITOR) | SINGLE | 1720 | 0
578 | SPO2 DISPOSABLE SENSOR FOR NEONATE (DISPOSABLE OXIMAX SPO2 SENSOR FOR PHILIPS MONITOR | SINGLE | 1004 | 0
579 | SPO2 DISPOSABLE SENSOR FOR SPACE LAB MONITOR)(DISPOSABLE OXIMAX SPO2 SENSOR FOR MONITOR) | SINGLE | 1414 | 0
580 | SPO2 DISPOSABLE SENSOR FOR CRITICARE MONITOR(DISPOSABLE OXIMAX SPO2 SENSOR | SINGLE | 1444 | 0
581 | HAMMOCK (FOR INTENSIVE PHOTOTHERAPY 60*40 CM قطعة قماش منخل | SINGLE | 2290 | 0
582 | AUTOFULL HUMIDIFICATION CHAMBER | single | 200 | 0
583 | ACTIVATED CHARCOL DRESING WITH SILVER 10.5*10.5CM | SINGLE | 50 | 0
584 | NON ADHERING DRESSING WITH PETROLATUM EMULSION 7.6*7.6CM STERIL | SINGLE | 1300 | 0
585 | NON ADHERING DIGIT DRESSING MEDIUM | SINGLE | 100 | 0
586 | PVP-I-NON-ADHERENT DRESSING 9.5*9.5 CM | SINGLE | 450 | 0
587 | HYDROGEL 15G , STERILE FOR DRESSING | SINGLE | 883 | 0
588 | HYDRO-ALGINATE ANTIMICROBIAL DRESSING / SILVER 11*11CM | SINGLE | 1250 | 0
589 | NON ADHERING DIGIT DRESSING SMALL | SINGLE | 100 | 0
590 | NON ADHERING DIGIT DRESSING LARGE | SINGLE | 100 | 0
591 | NON ADHERING DIGIT DRESSING TOE | SINGLE | 100 | 0
592 | CURFIX H ADHESIVE DRESSING RETENTION SHEETS 10*10 M | ROLL | 1250 | 0
593 | CELLACAST XTRA CASING TAPE 5 CM * 3.6 M | ROLL | 60 | 0
594 | CELLACAST XTRA CASING TAPE 7.5*3.6 M | ROLL | 60 | 0
595 | CELLACAST XTRA CASING TAPE 10 CM*3.6 M | ROLL | 60 | 0
596 | CELLACAST XTRA CASING TAPE 12.5CM *3.6 M | ROLL | 60 | 0
597 | CELLACAST ACTIVE BANDGES 5 CM *3.6 M | ROLL | 60 | 0
598 | CELLACAST ACTIVE BANDAGES 7.5 CM*3.6 M | ROLL | 60 | 0
599 | CELLACAST ACTIVE BANDAGES 10CM *3.6 M | ROLL | 60 | 0
600 | CELLACAST ACTIVE BANDAGES 12.5 CM*3.6 M | ROLL | 60 | 0
601 | PLAIN STOCKINTETTE 6 CM * 25 M | ROLL | 15 | 0
602 | PLAIN STOCKINTETTE 15 CM*25M | ROLL | 74 | 0
603 | TG GRIP ELASTICATED TUBULAR SUPPORT BANDGE FOR MEDIUM SIZED ARMS LOWER (LEGS D (7.5CM | ROLL | 154 | 0
604 | TG GRIP ELASTICATED TUBULAR SUPPORT BANDGE FOR LARGE ARMS LEGS SLIM (THIGHS E (8.75CM | ROLL | 154 | 0
605 | MONOFILAMENT 10 GM DISPOSABLE | SINGLE | 1250 | 0
606 | CURAFIX H ADHESIVE DRESSING RETENLION SHEET 5*10 | SINGLE | 624 | 0
607 | FORTCLAST FOR CAST LENGTHWISE ELASTIC 10CM*205M | SINGLE | 250 | 0
608 | tg fix B 4 m wound support tubular net bandage for small extremities rolled up in afolding box | SINGLE | 83 | 0
609 | suprasorb A calcium alginate dressing ability to absorb high volumes of exudate promotes wound healing 10cmx10cm | SINGLE | 500 | 0
610 | tubular bandage plain stoctinette 12cm x25m individually seled in pe pouch | SINGLE | 124 | 0
611 | Hydrocolloid dressing 15*18 sacral | SINGLE | 150 | 0
612 | Hydrocolloid dressing 15*15 box/5 | BOX | 110 | 0
613 | Non Adhering silicone coated cellulosefabric Digit Dressing Dressing X-Large sterile(ADAPTIC DIGIT) | single | 100 | 0
614 | tg fix B 4 m wound support tubular net bandage for small extremities rolled up in afolding box | single | 125 | 0
615 | silver nitrate sticks 75% | single | 1000 | 0
616 | surasil half shoes leather with cover size s | single | 124 | 0
617 | surasil half shoes leather with cover size m | single | 124 | 0
618 | surasil half shoes leather with cover size L | single | 124 | 0
619 | surasil half shoes leather with cover size xl | single | 124 | 0
620 | surasil half shoes leather with cover size xxl | single | 124 | 0
621 | active offloading DH WLKR smb w:1.2kg in side insoles removable and changeable blk | single | 124 | 0
622 | active offloading DH WLKR mdb w:1.361kg in side insoles removable and changeable blk | single | 124 | 0
623 | active offloading DH WLKR LG B w:1.45kg in side insoles removable and changeable blk | single | 124 | 0
624 | active offloading DH WLKR XL B w:1.61025kg in side insoles removable and changeable blk | single | 124 | 0
625 | IV SET FOR CHEMOTHERAPY | SINGLE | 21120 | 0
626 | ADAPTER FOR CHEMOTHERAPY PREPARA | SINGLE | 300 | 0
627 | EXPRESS SLEEVES MEDIUM 71.1 cm | SINGLE | 7 | 0
628 | EXPRESS SLEEVES LARGE 91.4cm | SINGLE | 80 | 0
629 | (PHASEAL PROTECTOR(P50 | SINGLE | 5783 | 0
630 | (PHASEAL INJECTOR LEWR LOCK (N35 | SINGLE | 2200 | 0
631 | INFUSION SET FOR TAXOL | SINGLE | 1500 | 0
632 | Sleeves poly –coated , universak fit BOX/600 | BOX | 74 | 0
633 | - INTRAFIX-PRIMLINE IV SET (TYPE UV (PROTECT MAX.2BAR | SET | 1000 | 0
634 | SAFE SET ADMINISTRATION ITRAFIX TO .PROTECT FROM LIGHT | SINGLE | 7100 | 0
635 | chemotherapy spell ket | pce | 1300 | 0
636 | disp.MRI kit for 65/115 mr injector system(2syr/2spike/1 tube) | SINGLE | 500 | 0
637 | CATH EMBOLECTOMY 3FR 80- 85CM | SINGLE | 100 | 0
638 | PLAIN STOCKINTETTE 10CM*25 M | ROLL | 100 | 0
639 | PLAIN STOCKINETTE 8 CM*25 M | ROLL | 100 | 0
640 | TG FIX TUBULAR NET BANDGE FOR LARGE EXTREMITIES (SMALL HEAD/ARM/LEG) 25 M (SIZEC) | SINGLE | 1000 | 0
641 | CODE: 16474 (PAGE 158) PROFIX WOUND CLOSURE STRIPS 2 2 PCS. IN A A SEALED BAG 2.5*12.5 CM | SINGLE | 300 | 0
642 | SUPRASORB C COLLAGEN WOUND DRESSING 6*8*.0.8 | SINGLE | 900 | 0
643 | TG GRIP ELASTICATED TUBULAR SUPPORT BANDGE FOR LEGS MEDIUM SIZED THIGHS F (CM 10) | ROLL | 200 | 0
644 | TG TUBULAR BANDGE SIZE 5 (5.5 CM) FOR ARM LOWER LEG CHILD'S LEG | ROLL | 200 | 0
645 | TG TUBULAR BANDGE SIZE 6 (6.5 CM) FOR ARM LEG (MEDIUM | ROLL | 200 | 0
646 | TG TUBULAR BANDGE SIZE 7 (7 CM) FOR ARM LARGE LEG CHILD'S HEAD | ROLL | 200 | 0
647 | gell for ultrasound | LITT | 0 | 30
648 | FELT 30CM*20CM SHEET ADHESIVE SEMI HARD FELT WITH A COMPOSITION OF 50%WOOL AND 50%RAYON VISCOSE ADHESIVE ,ATHICKNESS 8MM | BOX | 100 | 0
649 | dressing safety size adult foot and ankle w)mmX285(l)mm\195(neck)mm)350 | SINGLE | 300 | 0
650 | dressing safety size adult short (leg435(w)mmX645(l)mm\195mm(neck | SINGLE | 300 | 0
651 | dressing safety size adult long (leg355(w)mmX765(l)mm\195mm(neck | SINGLE | 300 | 0
652 | SAM-Medical-Splint-Roll 36 INCH / 91.4 CM | PCS | 0 | 400
653 | tg grip B 10mx 6.5cm incardbord dispenens roll tubular support bandge pcs | SINGLE | 300 | 0
اجمالي السعر المقدم بالشيكل شامل ض.ق.م