## 72-2024
الرقم | الصنف | الوحدة | الكمية | سعر الوحدة بالشيكل شامل ض.ق.م | السعر الإجمالي | ORIGIN | Manufacture | Trade name | ملاحظات
1 | lumber drainge kit | Single | 15
2 | LUMBO Pertonial PEDIATRIC SHUNT | single | 4
3 | LUMBO Pertonial adult SHUNT | single | 7
4 | TRAUMA CATH VENTRICULAR CATHETER SET ( catheter) | single | 60
5 | EXTernal VENTRICULAR DRAIN ( drainage set ) | single | 60
6 | STAINLESS STEEL REUSABLE SHUNT TUNNELER/INTRODUCER 60 CM REUSABLE | single | 2
7 | NEUROBALLOON CATHETER-DOUBLE BALLOON CATHETER مرتبط PEDIATRIC INTRAVENTRICULAR NEUROENDOSCOPIC SYSTEM | SINGLE | 3
8 | MAYO SCISSORS CURVED 15 CM | single | 5
9 | MAYO SCISSORS STRAIGHT 15 CM | single | 5
10 | MAYO-HEGAR NEEDLE HOLDER 160 MM | single | 6
11 | OLSEN-HEGAR NEEDLE HOLDER 170 MM | single | 6
12 | WILLIGER PERIOSTEAL ELEVATOR LENGTH 12.5 CM AND WORKING END 5 MM | single | 5
13 | LOVE BAYONET NERVE ROOT RETRACTOR | single | 4
14 | TESSIER BONE BENDER | single | 2
15 | YASERGIL GALEA HOOK 31 CM | single | 4
16 | YASERGIL GALEA HOOK 41 CM | single | 4
17 | BIPOLAR FORCEPS BAYONET non stick STRAIGHT 120 MM *8 MM TIPX 0.5 -0.7 MM FINE TIP COMPATABLE WITH (ERBE DEVICE مرتيط بحهاز ) | single | 3
18 | COTONOIDS BIG (brain)patties pack of 10 | pack | 600
19 | COTONOIDS SMALL (brain)patties pack of 10 | pack | 400
20 | COLLAGEN BOUND FIBRIN SEALANT- TACHOSIL PACKAGE FOR BRAIN WITH 5 MATRICS OF 3.0 CM * 2.5 C | BOX | 10
21 | COLLAGEN BOUND FIBRIN SEALANT- TACHOSIL PACKAGE FOR BRAIN WITH 1 MATRICS OF 9.5 CM * 4.8 C | BOX | 10
22 | FLOSEAL HEMOSTATIC MATRIX -10 ML FOR BRAIN | single | 4
23 | FLOSEAL HEMOSTATIC MATRIX -5 ML FOR BRAIN | single | 4
24 | TISSEEL FIBRIN SEALANT FOR BRAIN | single | 4
25 | BIPOLAR CORD REUSABLE BANANA PLUGS 3.0 M | single | 10
26 | BIPOLAR CORD REUSABLE UNITISED PLUGS 3.0 M | single | 10
27 | sterile marker pen | single | 400
28 | BEAR HUGGER ( WARMING BLANKETS ) | single | 400
29 | DURA PATCH 50 MM*50 MM | single | 30
30 | ANDERSON-ADESON RETRACTOR 4*4 SHARP 190MM | single | 4
31 | MOLLISON RETRACTOR SHARP 155MM | single | 6
32 | ADESON NERVE HOOK BLUNT 180 mm | single | 6
33 | MALIS NERVE HOOK TITANIUM BALL 3MM TIP | single | 2
34 | Cushing NERVE HOOK TITANIUM BALL 4MM TIP | single | 2
35 | WEARY NERVE HOOK FINE 3MM SHARP HOOK EBONIZED | single | 2
36 | yasargil temor.fcps.220mm,3mm | single | 5
37 | yasargil tumor fcps.220mm.bay5mm | single | 5
38 | Cushing intervert .disc rongeur 180mm 2.0*10mm straight | single | 5
39 | Cushing intervert .disc rongeur 180mm 2.0*10mm UP | single | 2
40 | Cushing intervert .disc rongeur 180mm 2.0*10mm DOWN | single | 2
41 | love-gruenwald interver disc rong 180mm 3.0*10mm straight | single | 6
42 | pyramesh 10mm*70mm.round | single | 8
43 | pyramesh 13mm*70mm.round | single | 8
44 | Cranial and spinal Neuromonitoring service | Single | 15
45 | PLIF LUMBER CAGE TITANIUM different sizes | single | 15
46 | TLIF LUMBER CAGE TITANIUM different sizes | single | 15
47 | RIGHT ANGLE CONNECTOR STERILE PLASTIC | SINGLE | 5
48 | 3 way connectors,Y shaped sterile ,with straight plastic non spring connector in each leg | SINGLE | 5
49 | CERV BAYT STYLE CURETTE 00BS 215MM | SINGLE | 2
50 | CERV BAYT STYLE CURETTE 00BA 215MM | SINGLE | 2
51 | DRILL PIT compatable for medtronic craniotomf2/8ta23 | SINGLE | 10
52 | DRILL PIT compatable for medtronic craniotom9/ac90 | SINGLE | 5
53 | DRILL PIT compatable for medtronic craniotom9/ac60 | SINGLE | 5
54 | DRILL PIT compatable for medtronic craniotom10ba/20 | SINGLE | 2
55 | DRILL PIT compatable for medtronic craniotom10ba/30 | SINGLE | 2
56 | kerrison laminectomy punch 180mm 1mm , 40 degrees forword up cutting | SINGLE | 12
57 | kerrison laminectomy punch 180mm2mm , 40 degrees forword up cutting | SINGLE | 12
58 | kerrison laminectomy punch 180mm3mm , 40 degrees forword up cutting | SINGLE | 12
59 | kerrison laminectomy punch 180mm4mm , 40 degrees forword up cutting | SINGLE | 12
60 | Attachment 8cm straight 2.4mm for med tronic craniotom | SINGLE | 1
61 | Attachment 10cm angeld 2.4mm for med tronic craniotom | SINGLE | 1
62 | cusa excel tip for 36khz hand piece "c3601" iameter 1.98mm +1,14mm | SINGLE | 5
63 | cusa excel manifold tubing set for 36khz hand piece "c3601" | SINGLE | 5
64 | Mayfield ultra base unite | SINGLE | 1
65 | Mayfield reusable skull pin adult | SINGLE | 1
66 | Mayfield reusable skull pin pediatric | SINGLE | 1
67 | STRAIGHT CONNECTORS STERILE PLASTIC | SINGLE | 8
68 | Ferguson suct.cannula 5fr * 140 mm | SINGLE | 6
69 | Ferguson suct.cannula 6fr * 140 mm | SINGLE | 7
70 | Ferguson suct.cannula 8fr * 140 mm | SINGLE | 7
71 | Ferguson suct.cannula 12fr * 140 mm | SINGLE | 7
72 | Ferguson suct.cannula 12fr * 180 mm | SINGLE | 4
73 | Yasargil micro dissecting scissors 200mm straight | SINGLE | 5
74 | yasargil micro scissors 200mm downwards curved | SINGLE | 5
75 | CERV BAYT STYLE CURETTE 00FA 215MM | SINGLE | 2
76 | CERV BAYT STYLE CURETTE 000 FA 215MM | SINGLE | 2
77 | CERV BAYT STYLE CURETTE 000BS 215MM | SINGLE | 2
78 | MICROSCOPE DRAPES FOR LEICA MICROSCOPE F 50 COMPATABLE WITH LEICA F50 MICROSCOPE صنف منفصل | single | 50
LOT1
lot1 | PEDIATRIC INTRAVENTRICULAR NEUROENDOSCOPIC SYSTEM COMPATABLE WITH STORZ CAMERA UNIT CONTAIN : SEE LIST | SET | 1
1--1 | (VENTRICULOSCOPE WITH WIDE ANGLE STRAIGHT FORWARD TELESCOP 6 DEGREE/OUTER DIAMETER 3.6 MM/LENGTH 18CM /WORKING CHANNEL DIAMETER 1.6 MM WITH SUCTION AND IRRIGATION CHANNEL 0.8MM /AUTOCLAVABLE/IRRIGATION ADAPTER/FIBER OPTIC LIGHT TRANSMISSION ) *1 | SINGLE | 1
1--2 | OPERATION SHEATH/SMALL OUTER DIAMETER 4.5 MM /WORKING LENGTH 13.3 CM )*1 ( | SINGLE | 1
1--3 | OBTURATOR)*1 | SINGLE | 1
1--4 | (OPTICAL OBTURATOR )*1 | SINGLE | 1
1--5 | (STRAIGHT FORWERD TELESCOPE 0 DEGREE/DIAMETER 2MM /LENGTH 26 CM/AUTOCLAVABLE /FIBER OPTIC TRANSMISSION )*1 | SINGLE | 1
INSTRUMENTS :
1--6 | ( SCISSOR /SINGLE ANCTION JAWS/DIAMETER 1.3 MM/WORKING LENGTH 30 CM)*1 | SINGLE | 1
1--7 | (BIOPSY FORCEPS/DOUBLE ACTION JAWS/DIAMETER 1.3/WORKING LENGTH 30 CM )*1 | SINGLE | 1
1--8 | (GRASPING FORCEPS /DOUBLE ACTION FORCEPS/DIAMETER 1.3 /WORKING LENGTH 30 CM )*1 | SINGLE | 1
1--9 | (BIPOLAR COAGULATION ELECTRODE/DIAMETER 1.3/WORKING LENGTH 30 CM)*1 | SINGLE | 1
1--10 | (FORCEPS FOR VENTRICULOSTOMY /FLEXIBLE DOUBLE ACTION JAWS/DIAMETER 1MM/WORKING LENGTH 30 CM )*1 | SINGLE | 1
MECHANICAL HOLDING SYSTEM :
1--11 | ( ROTATION SOCKET TO CLAMP TO THE OPERATION TABLE )*1 | SINGLE | 1
1--12 | (ARTICULATED STAND /REINFORCED VERSION /L-SHAPE/WITH ONE CENTRAL CLAMP /HIGHT 48 CM /SWIVEL RANGE 52 CM)*1 | SINGLE | 1
1--13 | (CLAMPING JAW /METAL /CLAMPING RANGE 4.8 UP TO 12.5 MM )*1 | SINGLE | 1
1--14 | PEEL AWAY -INTRAVENTRICULAR SINGLE USE INTRODUCER | SINGLE | 20
LOT2
LOT 2 | RHOTON MICRO DISSECTORS SET CONTAIN : SEE LIST | SET | 1
2--1 | ( RHOTON BALL DISSICTOR 7.5 IN TITANIUM *1) | SINGLE | 1
2--2 | ( RHOTON DISSECTOR RND 1MM KNIFE 7.5 IN TITANIUM *1) | SINGLE | 1
2--3 | (RHOTON DISSECTOR ROUND 3MM KNIFE 7 1/2 INCH TITANIUM *1) | SINGLE | 1
2--4 | (RHOTON DISSECTOR MD 2MM KNIFE 7 1/2 TITANIUM *1) | SINGLE | 1
2--5 | RHOTON ELEVATOR CVD 7 1/2 TITANIUM *1) | SINGLE | 1
2--6 | RHOTON SPATULA DISSECTOR 7 1/2 TITANIUM *1) | SINGLE | 1
2--7 | DISSECTOR SPATULA MED #7 1.7 MM TIP *1) | SINGLE | 1
2--8 | DISSECTOR SPATULA LARGE #7 1.7 MM TIP *1) | SINGLE | 1
2--9 | ( RHOTON HOOK 90 DEGREE AN SEMI-SHARP 7 1/2 TITANIUM *1) | SINGLE | 1
2--10 | ( RHOTON HOOK 90 DEGREE AN BLUNT 7 1/2 TITANIUM *1) | SINGLE | 1
2--11 | (RHOTON HOOK 45 DEGREE SEMISHARP 7 1/2 TITANIUM *1 ) | SINGLE | 1
2--12 | (RHOTON #12 STR. POINT NEEDLE SEMISHARP 7.5 *1) | SINGLE | 1
2--13 | (RHOTON CURETTE ¦#13 STR 7.5 TITANIUM *1) | SINGLE | 1
2--14 | (RHOTON CURETTE 14 25 DEG ANG TITANIUM *1) | SINGLE | 1
2--15 | (RHOTON BALL DISSECTOR 90 DEGREE 7 1/2 INCH *1) | SINGLE | 1
2--16 | (RHOTON BALL DISSECTOR 7 1/2 IN ANG 90 5MM TITANIUM *1) | SINGLE | 1
2--17 | (RHOTON BALL DISSECTOR 7 1/2 INCH ANGLED 40 4MM *1) | SINGLE | 1
2--18 | (RHOTON BALL DISSECTOR 7 1/2 IN ANG 40 8MM *1) | SINGLE | 1
LOT3
3--1 | (CASPER BODY*1 | SET | 2
3--2 | BLADE 45/60/70 /85MM)ONE FOR EACH size | SINGLE | 2
3--3 | BLADE EJECTOR FORCRPS | SINGLE | 8
3--4 | CASPER LUMBER SPECULUM (45/55/65/85MM) ONE For each size | SINGLE | 2
LOT4
4--1 | VP SHUNT VALVE-PROGRAMMABLE VALVE -PRESSURE REGULATED/mriCOMPATABLE | single | 10
4--2 | VP SHUNT REGULAR ADULT BURR HOLE RESERVOIR | single | 30
4--3 | VP SHUNT PEDIATRIC BURR HOLE RESERVOIR | single | 30
4--4 | VP SHUNT GRAVITY UNIT/SHUNT ASSISTANT 20 CM H2O | single | 28
4--5 | VP SHUNT GRAVITY UNIT/SHUNT ASSISTANT 25 CM H2O | single | 30
4--6 | VP SHUNT VALVE-NON-PROGRAMMABLE PRESSURE REGULATED 5/25 CM H2O | single | 23
4--7 | VP SHUNT VALVE-NON-PROGRAMMABLE PRESSURE REGULATED 10/25 CM H2O | single | 25
4--8 | VP SHUNT ANTIBIOTIC COVERD VENTRICULAR AND PERITONIAL CATHETER | single | 65
LOT5
5--1 | dorsal CERVICAL SCREWS POLYAXIAL 3.5 MM *8 MM | single | 8
5--2 | dorsal CERVICAL SCREWS POLYAXIAL 3.5 MM* 10 MM | single | 8
5--3 | dorsal CERVICAL SCREWS POLYAXIAL 3.5 MM* 12 MM | single | 8
5--4 | dorsalCERVICAL SCREWS POLYAXIAL 3.5 MM* 14 MM | single | 8
5--5 | dorsal CERVICAL SCREWS POLYAXIAL 3.5 MM* 16 MM | single | 8
5--6 | DORsAL CERVICAL SCREWS POLYAXIAL 4 MM* 9 MM | single | 6
5--7 | DORsAL CERVICAL SCREWS POLYAXIAL 4 MM* 10 MM | single | 6
5--8 | Dorsal CERVICAL SCREWS POLYAXIAL 4 MM* 12 MM | single | 8
5--9 | Dorsal CERVICAL SCREWS POLYAXIAL 4 MM* 14 MM | single | 8
5--10 | Dorsal CERVICAL SCREWS POLYAXIAL 4 MM* 16 MM | single | 6
5--11 | Dorsal CERVICAL SCREWS POLYAXIAL 3.5 MM* 18 MM | single | 6
5--12 | Dorsal CERVICAL SCREWS POLYAXIAL 3.5 MM* 20 MM | single | 6
5--13 | Dorsal CERVICAL SCREWS POLYAXIAL 4 MM* 18 MM | single | 6
5--14 | Dorsal CERVICAL SCREWS POLYAXIAL 4 MM* 20 MM | single | 6
5--15 | Dorsal CERVICAL SCREWS POLYAXIAL3.5 MM* 22 MM | single | 6
5--16 | Dorsal CERVICAL SCREWS POLYAXIAL3.5 MM* 24 MM | single | 6
5--17 | Dorsal CERVICAL SCREWS POLYAXIAL4 MM* 22 MM | single | 6
5--18 | Dorsal CERVICAL SCREWS POLYAXIAL4 MM* 24 MM | single | 6
5--19 | Dorsal CERVICAL SCREWS POLYAXIAL3.5 MM* 26 MM | single | 6
5--20 | Dorsal CERVICAL SCREWS POLYAXIAL4 MM* 26 MM | single | 6
5--21 | Dorsal CERVICAL RODS 3.5 MM على حساب الشركة المرسى عليها البراغي | single | 8
5--22 | Dorsal CERVICAL RODS 4 MM على حساب الشركة المرسى عليها البراغي | single | 7
5--23 | Dorsal PLATES FOR CRANIO-CERVICAL FIXATION | SET | 4
LOT6
6--1 | Screws multi axial 4.5*45 (neurosurgery) | single | 20
6--2 | Screws multi axial 4.5*55 (neurosurgery) | single | 20
6--3 | Screws multi axial 5.5*45 (neurosurgery) | single | 40
6--4 | Screws multi axial 5*55 (neurosurgery) | single | 80
6--5 | Screws multi axial 6*45 (neurosurgery) | single | 40
6--6 | Screws multi axial 6*60 (neurosurgery) | single | 40
6--7 | Screws multi axial 6.5*55 (neurosurgery) | single | 60
6--8 | Screws multi axial 7.5*50 (neurosurgery) | single | 20
6--9 | Screws multi axial 7.5*55 (neurosurgery) | single | 40
LOT7
7--1 | augmented LUMBER POLYAXIAL PEDICLE SCREWS 4.5*45 | single | 14
7--2 | augmented LUMBER POLYAXIAL PEDICLE SCREWS 4.5*50 | single | 10
7--3 | augmented LUMBER POLYAXIAL PEDICLE SCREWS 4.5*55 | single | 10
7--4 | augmented LUMBER POLYAXIAL PEDICLE SCREWS 5.5*45 | single | 14
7--5 | augmented LUMBER POLYAXIAL PEDICLE SCREWS 5.5*50 | single | 10
7--6 | augmented LUMBER POLYAXIAL PEDICLE SCREWS 5.5*55 | single | 10
7--7 | augmented LUMBER POLYAXIAL PEDICLE SCREWS 5.5*60 | single | 10
7--8 | augmented LUMBER POLYAXIAL PEDICLE SCREWS 6.5*45 | single | 10
7--9 | augmented LUMBER POLYAXIAL PEDICLE SCREWS 6.5*50 | single | 10
7--10 | augmented LUMBER POLYAXIAL PEDICLE SCREWS 6.5*55 | single | 10
7--11 | augmented LUMBER POLYAXIAL PEDICLE SCREWS 6.5*60 | single | 14
7--12 | augmented LUMBER POLYAXIAL PEDICLE SCREWS 7.5*50 | single | 10
7--13 | augmented LUMBER POLYAXIAL SCREWS 7.5*55 | single | 14
7--14 | BONE/PEDICLE ACCESS JAMSHIDI NEEDLE | single | 10
7--15 | KYPHOPLASTY CEMENT HIGH VISCOSITY RADIOPAQE,PACKAGED TOGETHER WITH THE MIXTURE | single | 10
LOT8
8--1 | BIPOLAR FORCEPS BAYONET non stick STRAIGHT 170 MM *8 MM TIPX 0.5 -0.7 MM FINE TIP COMPATABLE WITH (ERBE DEVICE مرتيط بحهاز ) | single | 1
8--2 | BIPOLAR FORCEPS BAYONET non stick STRAIGHT 200MM *8 MM TIP X 1 MM FINE TIP COMPATABLE WITH ERBE DEVICE (ERBE DEVICE مرتيط بحهاز ) | single | 2
8--3 | BIPOLAR FORCEPS BAYONET non stick STRAIGHT 230MM *8 MM TIP X 0.5 -0.7 MM FINE TIP COMPATABLE WITH ERBE DEVICE (ERBE DEVICE مرتيط بحهاز ) | single | 2
8--4 | BIPOLAR FORCEPS BAYONET non stick STRAIGHT 250MM *8 MM TIP X 1 MM FINE TIP COMPATABLE WITH ERBE DEVICE (ERBE DEVICE مرتيط بحهاز ) | single | 2
LOT9
LOT9 | YASERGIL ANEURYSM CLIPPING SET WITH APPLIERS CLIPS AND APPLIERS OF DIFFERENT SIZES SEE LIST | SET | 1
9--1 | Temporary clip 7mmx6.2mmx1.08 N | single | 1
9--2 | Permanent clip 7mmx6.2mmx1.47 N | single | 1
9--3 | permanent straight Clip 9mmx7xmmx1.77n | single | 1
9--4 | Temporary straight clip 11mmx7.8xmmx0.88 | single | 1
9--5 | permanent straight clip 11mmx7.8mmx1.77n | single | 1
9--6 | Temporary straight clip 15mm X9.2mmx0.88 n | single | 1
9--7 | Permanent straight clip 15mmx9.2mmx1.96n | single | 1
9--8 | permanent straight clip 17.5mmx10.6mmx1.96n | single | 1
9--9 | permanent simple curved clip 8.3mmx 6.8mmx 1.77n | single | 1
9--10 | temporary simple curved clip 10.2mmx 7.5mmx 0.88n | single | 1
9--11 | permanent simple curved clip 10.2mmx 7.5mmx 1.77n | single | 1
9--12 | temporary simple curved clip 13.7mmx 8.7mmx 1.08n | single | 1
9--13 | permanent simple curved clip 13.7mmx 8.7mmx 1.96n | single | 1
9--14 | permanent 90 degrees curved clip 7.0mmx 4.5mmx 1.96n 2clips | single | 1
9--15 | Permmanent straight 3.5 fenestrated clip 5/10.1mmx 7.4mmx1.47n | single | 1
9--16 | Permmanent straight 3.5 fenestrated clip 9/14.1mmx 8.4mmx 1.47n | single | 1
9--17 | Permanent straight 5 fenestrated clip 5/11.8mmx 7.4mmx 1.47n | single | 1
9--18 | Permanent straight 5 fenestrated clip 9/15.7mmx 9.1mmx 1.47n | single | 1
9--19 | Permanent curved 5 fenestrated clip 7.5/10.6mmx 7.2mmx 1.47n | single | 1
9--20 | double bayonet clip applier standard, total length 245 mm | single | 1
9--21 | Bayonet clip, applier straight , standard, , total length 220 mm | single | 1
9--22 | Bayonet clip applier 15 degree angled, standard, total length 220 mm | single | 1
9--23 | removing forceps for titanium clips , standard , ttotal length 220 mm | single | 1
LOT10
LOT10 | LOW PROFILE TITANIUM PLATING SYSTEM FOR CRANIAL FIXATION DIFFERENT SIZES ( as detailed bellow) | SET | 2
10--1 | 6 holes, double Y plate(Long)11×16 mm 0.6 mm |  | 8
10--2 | Low profile plate long straight 2holes 17 mm x0.6 mm |  | 40
10--3 | Low profile plate short straight 2holes 13 mm 0.6 mm |  | 40
10--4 | low profile plate straight 6 holes 29 mm x0.6 mm |  | 20
10--5 | Low profile plate long square 4 holes 10×16 mm x0.6 mm |  | 8
10--6 | Burr Hole, Pre-contoured 6holes Ø 15 mm x0.6 mm |  | 6
10--7 | 1.4 * 3mm Low Profile screw |  | 20
10--8 | 1.4 * 4mm Low Profile screw |  | 80
10--9 | 1.4 * 5mm Low Profile screw |  | 20
10--10 | 1.6 * 3mm Mid screw |  | 10
10--11 | 1.6 * 4mm mid screw |  | 10
10--12 | 1.6* 5mm mid screw |  | 8
LOT11
11--1 | MEDTRONIC STEALTH s8 NAVIGATION SYSTEM MEDTRONIC NAVIGATED BIOBSY NEEDLE (مرتبط s8 STEALTH MEDTRONIC NAVIGATION | single | 1
11--2 | MEDTRONIC STEALTH s8 NAVIGATION SYSTEM -NON INVASIVE PATIENT TRACKER (مرتبط s8 STEALTH MEDTRONIC NAVIGATION | single | 1
11--3 | MEDTRONIC STEALTH s8 NAVIGATION SYSTEM -AXIEM STYLET 1.2 MM * 23 CM (مرتبط s8 STEALTH MEDTRONIC NAVIGATION | single | 2
11--4 | MEDTRONIC DISPOSABLE MARKING SPHERES FOR STEALTH NAVIGATION SYSTEM s8 مرتبط s8 STEALTH MEDTRONIC NAVIGATION | BOX | 2
11--5 | MEDTRONIC STEALTH NAVIGATION SYSTEM s8 NAVIGATION POINTER (IN TUMOR RESECTION KIT (مرتبط s8 STEALTH MEDTRONIC NAVIGATION | single | 1
LOT 12
12--1 | ABSORBABLE PLATES AND SCREWS FOR CRANIOFACIAL SURGERY DIFFERENT SIZES( as detailed bellow) SEE LIST | single | 2
12--2 | Ultrasonic device set with power cord, handpiece and wrench | set | 1
12--3 | Standard Sonotrode straight | single | 10
12--4 | water bath with thermal unit, cover and container | set | 1
12--5 | absorbable pins 1.6 mmx 4 mm | box | 7
12--6 | absorbable pins 1.6 mmx 5 mm | box | 7
12--7 | absorbable pins 2.1mm x 4mm | box | 6
12--8 | absorbable pins 2.1mm x 5mm | box | 6
12--9 | absorbable PLATE, 1.0 MM, 11X126 MM | single | 15
LOT13
13-1 | ODONTOID SCREW PARTIALY THREADED 34 MM | single | 1
13-2 | ODONTOID SCREW PARTIALY THREADED 38 MM | single | 1
13-3 | ODONTOID SCREW PARTIALY THREADED 42 MM | single | 1
13-4 | ODONTOID SCREW PARTIALY THREADED 46 MM | single | 1
13-5 | ODONTOID SCREW PARTIALY THREADED 50 MM | single | 1
13-6 | ODONTOID SCREW PARTIALY THREADED 54 MM | single | 1
LOT14
14-1 | cervical screw different size self drilling | single | 60
14-2 | cage cervical Titanium different sizes | Single | 50
14-3 | cervical plate size 19-50 | single | 14
14-4 | cervical plate size 50-70 | single | 14
14-5 | cervical plate 70-85 | single | 8